## Work Orders
ID | Description | Status | Type | Outage Type | Priority | Date Opened | Start Date | Date Done | Down Time | Site | Planning | Unplanned Type | Task ID | Asset ID | Vendor ID | Actual Hours | Part ID | Part Quantity | Comments | Original ID
PATTN-WKO-GAM-20150615-01 | GAM-ALARM 2106 T-MEASUREMENT FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 6/15/2015 | 6/15/2015 | 6/15/2015 | 7.1667 | Patton | Unplanned |  | PMI-004 |  | VEN-165 | 0.41667 |  |  |  | 402022836
PATTN-WKO-GAM-20150616-01 | REPLACED THE DECK SUPPORT RODS | Closed | Corrective Maintenance | Forced | 02-High | 6/16/2015 | 6/16/2015 | 6/16/2015 | 4.5 | Patton | Unplanned |  | PMI-004 |  | VEN-165 | 5.5 |  |  |  | 402024751
PATTN-WKO-GAM-20150616-02 | REPLACED THE DECK SUPPORT ROD | Closed | Corrective Maintenance | Forced | 02-High | 6/16/2015 | 6/16/2015 | 6/16/2015 | 1.5 | Patton | Unplanned |  | PMI-004 |  | VEN-165 | 1.5 |  |  |  | 402024772
PATTN-WKO-GAM-20150618-01 | AUTOLUBBER DM | Closed | Corrective Maintenance | Forced | 02-High | 6/18/2015 | 6/18/2015 | 6/18/2015 | 1.5 | Patton | Unplanned |  | PMI-004 |  | VEN-165 | 0.75 |  |  |  | 402027021
PATTN-WKO-GAM-20150621-01 | GAM-loal reset | Closed | Corrective Maintenance | Forced | 02-High | 6/21/2015 | 6/21/2015 | 6/21/2015 | 7.1 | Patton | Unplanned |  | PMI-004 |  | VEN-165 | 0.11667 |  |  |  | 402029646
PATTN-WKO-GAM-20150622-01 | CHECKED THE SLIP RING FOR ARC MARKS | Closed | Corrective Maintenance | Forced | 02-High | 6/22/2015 | 6/22/2015 | 6/22/2015 | 3.3333 | Patton | Unplanned |  | PMI-004 |  | VEN-165 | 3.6667 |  |  |  | 402029810