## General Info
Order | Order Type | Bas. start date | Description | Turbine Number | Functional loc. | System status | User status | Entered by | Changed by | WBS element | WBS ord. header | Actual release | Basic fin. date | Changed on
401991109 | ZPM2 | 2015-05-11 | GAM-ALARM 204 LOW HYDRALIC PREESURE | G97 / 78 / 3 - Patton | WF-US-0PA-1121-Y2-A-003 | CLSD PCNF GMPS NMAT SETC | COMP | USUARIOJOBS | LRAWLE01 |  |  | 2015-05-13 | 2015-05-12 | 2015-05-14
401991714 | ZPM2 | 2015-05-11 | GAM-ALARM 2106 TEMP MEASUREENT FAILURE | G97 / 90 / 12 - Patton | WF-US-0PA-1121-Y1-A-002 | CLSD PCNF NMAT SETC | COMP | CARROYO01 | LRAWLE01 |  |  | 2015-05-13 | 2015-05-11 | 2015-05-14
500716986 | ZPM1 | 2015-05-11 | GAM-30 Month Minor maint. G9X Patton | G97 / 78 / 3 - Patton | WF-US-0PA-1121-Y2-A-003 | REL PCNF GMPS ILAS MACM SETC | ACCE | IP1020150104 | OSB_RFC01 |  |  | 2015-05-11 | 2015-05-12 | 2015-05-14
401990439 | ZPM2 | 2015-05-12 | GAM- WARNING 404 HIGH GEARBOX TEMP | G97 / 78 / 1 - Patton | WF-US-0PA-1121-Y2-A-001 | CLSD PCNF GMPS NMAT SETC | COMP | USUARIOJOBS | LRAWLE01 |  |  | 2015-05-12 | 2015-05-12 | 2015-05-14
401990443 | ZPM2 | 2015-05-12 | GAM- WARNING 114 LOW YAW BRAKE PRESSURE | G97 / 90 / 2 - Patton | WF-US-0PA-1121-Y2-A-002 | CLSD PCNF NMAT SETC | COMP | USUARIOJOBS | LRAWLE01 |  |  | 2015-05-12 | 2015-05-12 | 2015-05-14
401991153 | ZPM2 | 2015-05-12 | GAM- AUTOLUBBER DM | G97 / 78 / 3 - Patton | WF-US-0PA-1121-Y2-A-003 | CLSD PCNF GMPS NMAT SETC | COMP | USUARIOJOBS | LRAWLE01 |  |  | 2015-05-13 | 2015-05-12 | 2015-05-14
401991588 | ZPM2 | 2015-05-13 | GAM-ALARM 403 HIG GEARBOX TEMP | G97 / 78 / 13 - Patton | WF-US-0PA-1121-Y1-A-003 | REL PCNF GMPS NMAT SETC | ACCE | USUARIOJOBS | OSB_RFC01 |  |  | 2015-05-13 | 2015-05-13 | 2015-05-14
500833127 | ZPM1 | 2015-05-14 | GAM-30 Month Minor maint. Patton | G97 / 90 / 9 - Patton | WF-US-0PA-1121-Y2-A-008 | REL ILAS MACM SETC | EJEC | IP1020150509 | LRAWLE01 |  |  | 2015-05-14 | 2015-05-14 | 2015-05-14

## Hours ( labor)
Order | Type | Turbine Number | WO Description | WO Description | Start Date | Sta. Hour | End Date | End Hour | Work type | Pers.No. | Personnel Name | Subc | Name | User Statu | Postg date
401990439 | ZPM2 | G97 / 78 / 1 - Patton | GAM- WARNING 404 HIGH GEARBOX TEMP | WO Maintenance Small corrective | 2015-05-12 | 12:30:00 | 2015-05-12 | 14:26:00 | Op regular hours | 02000541 | Robert Anthony Cook | 500504 | Gamesa Wind US | Complete | 2015-05-12
401990439 | ZPM2 | G97 / 78 / 1 - Patton | GAM- WARNING 404 HIGH GEARBOX TEMP | WO Maintenance Small corrective | 2015-05-12 | 12:30:00 | 2015-05-12 | 14:26:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Complete | 2015-05-12
401990443 | ZPM2 | G97 / 90 / 2 - Patton | GAM- WARNING 114 LOW YAW BRAKE PRESSURE | WO Maintenance Small corrective | 2015-05-12 | 10:00:00 | 2015-05-12 | 12:45:00 | Op regular hours | 02000541 | Robert Anthony Cook | 500504 | Gamesa Wind US | Complete | 2015-05-12
401990443 | ZPM2 | G97 / 90 / 2 - Patton | GAM- WARNING 114 LOW YAW BRAKE PRESSURE | WO Maintenance Small corrective | 2015-05-12 | 10:00:00 | 2015-05-12 | 12:45:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Complete | 2015-05-12
401991109 | ZPM2 | G97 / 78 / 3 - Patton | GAM-ALARM 204 LOW HYDRALIC PREESURE | WO Maintenance Small corrective | 2015-05-11 | 18:30:00 | 2015-05-11 | 23:59:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Complete | 2015-05-11
401991109 | ZPM2 | G97 / 78 / 3 - Patton | GAM-ALARM 204 LOW HYDRALIC PREESURE | WO Maintenance Small corrective | 2015-05-12 | 01:00:00 | 2015-05-12 | 09:30:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Complete | 2015-05-12
401991109 | ZPM2 | G97 / 78 / 3 - Patton | GAM-ALARM 204 LOW HYDRALIC PREESURE | WO Maintenance Small corrective | 2015-05-12 | 01:00:00 | 2015-05-12 | 09:30:00 | Op regular hours | 02000507 | Nathan Paul Palko | 500504 | Gamesa Wind US | Complete | 2015-05-12
401991588 | ZPM2 | G97 / 78 / 13 - Patton | GAM-ALARM 403 HIG GEARBOX TEMP | WO Maintenance Small corrective | 2015-05-13 | 08:30:00 | 2015-05-13 | 12:25:00 | Op regular hours | 02000541 | Robert Anthony Cook | 500504 | Gamesa Wind US | Accepted | 2015-05-13
401991714 | ZPM2 | G97 / 90 / 12 - Patton | GAM-ALARM 2106 TEMP MEASUREENT FAILURE | WO Maintenance Small corrective | 2015-05-11 | 21:30:00 | 2015-05-11 | 23:59:00 | Op regular hours | 02000541 | Robert Anthony Cook | 500504 | Gamesa Wind US | Complete | 2015-05-11
500716986 | ZPM1 | G97 / 78 / 3 - Patton | GAM-30 Month Minor maint. G9X Patton | WO Preventive maintenance | 2015-05-12 | 07:30:00 | 2015-05-12 | 09:30:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Accepted | 2015-05-13
401991109 | ZPM2 | G97 / 78 / 3 - Patton | GAM-ALARM 204 LOW HYDRALIC PREESURE | WO Maintenance Small corrective | 2015-05-11 | 18:30:00 | 2015-05-11 | 23:59:00 | Op regular hours | 02000507 | Nathan Paul Palko | 500504 | Gamesa Wind US | Complete | 2015-05-11
401991153 | ZPM2 | G97 / 78 / 3 - Patton | GAM- AUTOLUBBER DM | WO Maintenance Small corrective | 2015-05-12 | 12:00:00 | 2015-05-12 | 12:45:00 | Op regular hours | 02000507 | Nathan Paul Palko | 500504 | Gamesa Wind US | Complete | 2015-05-12
401991588 | ZPM2 | G97 / 78 / 13 - Patton | GAM-ALARM 403 HIG GEARBOX TEMP | WO Maintenance Small corrective | 2015-05-13 | 08:30:00 | 2015-05-13 | 12:25:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Accepted | 2015-05-13
500716986 | ZPM1 | G97 / 78 / 3 - Patton | GAM-30 Month Minor maint. G9X Patton | WO Preventive maintenance | 2015-05-12 | 07:30:00 | 2015-05-12 | 09:30:00 | Op regular hours | 02000541 | Robert Anthony Cook | 500504 | Gamesa Wind US | Accepted | 2015-05-13
500716986 | ZPM1 | G97 / 78 / 3 - Patton | GAM-30 Month Minor maint. G9X Patton | WO Preventive maintenance | 2015-05-11 | 07:50:00 | 2015-05-11 | 18:30:00 | Op regular hours | 02000541 | Robert Anthony Cook | 500504 | Gamesa Wind US | Accepted | 2015-05-13
500716986 | ZPM1 | G97 / 78 / 3 - Patton | GAM-30 Month Minor maint. G9X Patton | WO Preventive maintenance | 2015-05-11 | 07:50:00 | 2015-05-11 | 18:30:00 | Op regular hours | 02001212 | KEVIN BARCLAY JOHNSON | 500504 | Gamesa Wind US | Accepted | 2015-05-13

## Stop Times
Order | Order Type | Plant | UserStatus | FunctLocDescrip. | Descriptn | WO Description | Windfarm | Start Date | Time | End date | Stop time | Total Stop | Remarks
401990439 | ZPM2 | 1320 | COMP | G97 / 78 / 1 - Patton | Patton | GAM- WARNING 404 HIGH GEARBOX TEMP | WF-US-0PA-1121 | 2015-05-12 | 12:54:00 | 2015-05-12 | 14:25:00 | 1:31:00 | 2000541: FOUND TWO LOUVERS BURT UP
401990443 | ZPM2 | 1320 | COMP | G97 / 90 / 2 - Patton | Patton | GAM- WARNING 114 LOW YAW BRAKE PRESSURE | WF-US-0PA-1121 | 2015-05-12 | 10:05:00 | 2015-05-12 | 12:45:00 | 2:40:00 | 2000541: ADJUSTED THE PRESSURES
401991109 | ZPM2 | 1320 | COMP | G97 / 78 / 3 - Patton | Patton | GAM-ALARM 204 LOW HYDRALIC PREESURE | WF-US-0PA-1121 | 2015-05-12 | 01:00:00 | 2015-05-12 | 09:30:00 | 8:30:00
401991109 | ZPM2 | 1320 | COMP | G97 / 78 / 3 - Patton | Patton | GAM-ALARM 204 LOW HYDRALIC PREESURE | WF-US-0PA-1121 | 2015-05-11 | 18:30:00 | 2015-05-11 | 23:59:00 | 5:29:00
401991153 | ZPM2 | 1320 | COMP | G97 / 78 / 3 - Patton | Patton | GAM- AUTOLUBBER DM | WF-US-0PA-1121 | 2015-05-12 | 12:00:00 | 2015-05-12 | 12:45:00 | 0:45:00 | 2000541: AUTO LUBBER DM
401991588 | ZPM2 | 1320 | ACCE | G97 / 78 / 13 - Patton | Patton | GAM-ALARM 403 HIG GEARBOX TEMP | WF-US-0PA-1121 | 2015-05-13 | 08:55:00 | 2015-05-13 | 12:25:00 | 3:30:00 | 2000541: FOUND THE GEARBOX FAN FAILED REPLACED IT
401991714 | ZPM2 | 1320 | COMP | G97 / 90 / 12 - Patton | Patton | GAM-ALARM 2106 TEMP MEASUREENT FAILURE | WF-US-0PA-1121 | 2015-05-11 | 22:50:00 | 2015-05-11 | 23:59:00 | 1:09:00 | 2000541: LOCAL RESET
500716986 | ZPM1 | 1320 | ACCE | G97 / 78 / 3 - Patton | Patton | GAM-30 Month Minor maint. G9X Patton | WF-US-0PA-1121 | 2015-05-12 | 07:30:00 | 2015-05-12 | 09:30:00 | 2:00:00 | 30 month maintance
500716986 | ZPM1 | 1320 | ACCE | G97 / 78 / 3 - Patton | Patton | GAM-30 Month Minor maint. G9X Patton | WF-US-0PA-1121 | 2015-05-11 | 07:50:00 | 2015-05-11 | 18:30:00 | 10:40:00 | 30 month maintance

## Consumption
Order | Plnt | SLoc | Material | Material Description | MvT | Quantity in UnE | Amount in LC | Pstng Date
401991109 | 1320 | 1121 | 107912 | Reten delantero partido D660-D700x20 GVP | 965 | -1 | -172.22 | 2015-05-13
401991109 | 1320 | 1121 | 109534 | RV8-10-C-0-50 VALVE | 965 | -1 | -33.72 | 2015-05-13
401991153 | 1320 | 1121 | 181921 | Rubbish Bag 85 x 105 (Roll of 20 units) | 965 | -1 | -0.42 | 2015-05-13
401991153 | 1320 | 1121 | 8045300077 | CABLE H07V-K 450-750V 1X1,5MM2 CU BROWN | 965 | -4 | -1 | 2015-05-13
401991153 | 1320 | 1121 | 8045300078 | CABLE H07V-K 450-750V 1X1,5MM2 CU BLUE | 965 | -4 | -1 | 2015-05-13
401991153 | 1320 | 1121 | CAX0089 | AUXILIARY CONTACT CA5 10 1NO | 965 | -1 | -2.5 | 2015-05-13
401991588 | 1320 | 1121 | GP005890 | MOTOR ABB 3480RPM, 1.5KW 1.7A 690V 60HZ | 965 | -1 | -171.87 | 2015-05-13
401991109 | 1320 | 1121 | GP009355 | ACTUADOR JOVENTA mod.DAS2.S 8Nm | 965 | -1 | -88.35 | 2015-05-13
401990439 | 1320 | 1121 | GP009355 | ACTUADOR JOVENTA mod.DAS2.S 8Nm | 965 | -2 | -176.71 | 2015-05-12
401991109 | 1320 | 1121 | GP021965 | 100-115-40 FRICTION BEARING | 965 | -2 | -98.71 | 2015-05-13
401991109 | 1320 | 1121 | GP022073 | G87GF CYLINDER HOLDER (MACHINING) | 965 | -2 | -214.16 | 2015-05-13
401991109 | 1320 | 1121 | GP022119 | SILICONE DOW CORNING 7093 WHITE | 965 | -1 | -21.2 | 2015-05-13
401991109 | 1320 | 1121 | GP072783 | SEAL GAUGE 0.5 MM REAR BEARING | 965 | -2 | -105.14 | 2015-05-13
401991109 | 1320 | 1121 | GP072793 | SEAL GAUGE 1 MM REAR BEARING | 965 | -2 | -149.9 | 2015-05-13
401991109 | 1320 | 1121 | GP099957 | Stickers botton section | 965 | -3 | -102.87 | 2015-05-13
500716986 | 1320 | 1121 | GP238666 | BRUSH CANT06 20X40X50 | 965 | -20 | -344.72 | 2015-05-13
500716986 | 1311 | 1999 | GP300084 | G97-06M-LT_(WG-CASOPT-NB) | 967 | 1 | 81.4 | 2015-05-13
500716986 | 1320 | 1121 | GP300084 | G97-06M-LT_(WG-CASOPT-NB) | 965 | -1 | -406.99 | 2015-05-13
401991153 | 1320 | 1121 | P390056 | TERMINAL 1.5 mm2 | 965 | -6 | -0.08 | 2015-05-13
401991153 | 1320 | 1121 | P392932 | LABEL FOR SINGLE-LINE CABLE | 965 | -6 | -1.44 | 2015-05-13
401991153 | 1320 | 1121 | P393548 | CONICAL END CONNECTOR 10MM2 | 965 | -2 | -0.34 | 2015-05-13