## General WO Info
Order | Order Type | Bas. start date | Basic fin. date | Description | Description | User status
401529646 | ZPM2 | 2014-01-15 | 2014-01-15 | gam-205 low hyro level | G97 / 78 / 1 - Patton | COMP
401532925 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 11 - Patton | COMP
401532953 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 13 - Patton | COMP
401532981 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 12 - Patton | COMP
401532999 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 4 - Patton | COMP
401533008 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 3 - Patton | COMP
401533033 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 1 - Patton | COMP
401533048 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 2 - Patton | COMP
401533061 | ZPM2 | 2014-01-17 | 2014-01-17 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 8 - Patton | COMP
401533074 | ZPM2 | 2014-01-18 | 2014-01-18 | GAM-700 ALARM PLC/ CONVERTER COMMUNICATI | G97 / 90 / 17 - Patton | COMP
401533089 | ZPM2 | 2014-01-18 | 2014-01-18 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 10 - Patton | COMP
401533109 | ZPM2 | 2014-01-18 | 2014-01-18 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 9 - Patton | COMP
401534637 | ZPM7 | 2014-01-20 | 2014-01-20 | gam-park preservation | Patton | COMP
401546591 | ZPM7 | 2014-01-22 | 2014-01-22 | GAM-WED PARK PRESERVATION / PRODUCTION | Patton | COMP
401546592 | ZPM7 | 2014-01-21 | 2014-01-21 | gam-park preservation | Patton | COMP
401546596 | ZPM7 | 2014-01-23 | 2014-01-23 | gam-park preservation | Patton | COMP
401546597 | ZPM2 | 2014-01-23 | 2014-01-23 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 5 - Patton | COMP
401546598 | ZPM7 | 2014-01-23 | 2014-01-23 | GAM-THURS PARK PRESERVATION / ALL TIME | Patton | COMP
401546599 | ZPM2 | 2014-01-26 | 2014-01-26 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 3 - Patton | COMP
401546600 | ZPM2 | 2014-01-26 | 2014-01-26 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 8 - Patton | COMP
401546603 | ZPM7 | 2014-01-28 | 2014-01-28 | gam-park preservation | Patton | COMP
401546614 | ZPM7 | 2014-01-27 | 2014-01-27 | gam-park preservation | Patton | COMP
401546615 | ZPM7 | 2014-01-29 | 2014-01-29 | gam-park preservation | Patton | COMP
401548161 | ZPM7 | 2014-02-03 | 2014-02-03 | gam-park preservation | Patton | COMP
401548164 | ZPM7 | 2014-02-04 | 2014-02-04 | gam-park preservation | Patton | COMP
401548165 | ZPM2 | 2014-01-29 | 2014-01-29 | gam-107 yaw motor breaker | G97 / 90 / 8 - Patton | COMP
401549323 | ZPM2 | 2014-01-30 | 2014-01-30 | gam-804 blade error | G97 / 78 / 13 - Patton | COMP
401549338 | ZPM2 | 2014-01-16 | 2014-01-16 | gam-punch list items | G97 / 90 / 4 - Patton | COMP
401549374 | ZPM2 | 2014-01-31 | 2014-01-31 | gam-205 low hydro oil | G97 / 90 / 5 - Patton | COMP
401550808 | ZPM7 | 2014-02-05 | 2014-02-05 | gam-wend/2-5-14, park preservation | Patton | COMP
401550974 | ZPM7 | 2014-01-14 | 2014-02-06 | GAM-TUES PARK PRESERVATION | Patton | COMP
401551152 | ZPM7 | 2014-01-15 | 2014-01-15 | GAM-WED PARK PRESERVATION | Patton | COMP
401551153 | ZPM7 | 2014-01-16 | 2014-01-16 | GAM-THURS PARK PRESERVATION | Patton | COMP
401551163 | ZPM7 | 2014-01-17 | 2014-01-17 | GAM-FRI PARK PRESERVATION | Patton | COMP
401551164 | ZPM7 | 2014-01-24 | 2014-01-24 | GAM-FRI PARK PRESERVATION | Patton | COMP
401551190 | ZPM7 | 2014-01-30 | 2014-01-30 | GAM-THUR PARK PRESERVATION | Patton | COMP
401551196 | ZPM7 | 2014-01-31 | 2014-01-31 | GAM-FRI PARK PRESERVATION | Patton | COMP
401552217 | ZPM7 | 2014-02-06 | 2014-02-06 | gam-thursday- park preservation | Patton | COMP
401554554 | ZPM2 | 2014-02-09 | 2014-02-09 | GAM-2118 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 10 - Patton | COMP
401554567 | ZPM7 | 2014-02-09 | 2014-02-09 | GAM-SUN PARK PRESERVATION | Patton | COMP
401556214 | ZPM2 | 2014-02-10 | 2014-02-10 | GAM-2118 ALARM INTERBUS FAILURE / TROU | G97 / 78 / 13 - Patton | COMP
401556232 | ZPM2 | 2014-02-10 | 2014-02-10 | GAM-2106 ALARM PREVENTATIVE DESIGN MOD | G97 / 90 / 2 - Patton | COMP
401556246 | ZPM7 | 2014-02-10 | 2014-02-10 | gam-mon-park preservation | Patton | COMP
401556752 | ZPM2 | 2014-02-11 | 2014-02-11 | GAM-300 ALARM ANEMOMETER FAILURE | G97 / 90 / 7 - Patton | COMP
401559219 | ZPM2 | 2014-02-11 | 2014-02-11 | GAM-PLANNED INVESTIGATION OF YAW DRIVES | G97 / 90 / 8 - Patton | COMP
401559259 | ZPM2 | 2014-02-12 | 2014-02-12 | GAM-PLANNED INVESTIGATION OF YAW SYSTEM | G97 / 90 / 8 - Patton | COMP
401559273 | ZPM2 | 2014-02-13 | 2014-02-13 | GAM-2118 ALARM INTERBUS FAILURE | G97 / 78 / 13 - Patton | COMP
401566471 | ZPM7 | 2014-02-17 | 2014-02-17 | gam-mon-park preservation | Patton | COMP
401566472 | ZPM7 | 2014-02-18 | 2014-02-18 | gam-tue-park preservation | Patton | COMP
401566473 | ZPM7 | 2014-02-19 | 2014-02-19 | gam-wend-park preservation | Patton | COMP
401567265 | ZPM7 | 2014-02-20 | 2014-02-20 | gam-fri-park preservation | Patton | COMP
401567400 | ZPM2 | 2014-02-18 | 2014-02-19 | gam-5237 error on rotor phase s | G97 / 78 / 3 - Patton | COMP
401567423 | ZPM2 | 2014-02-13 | 2014-02-20 | gam-5237 error rotor phase s | G97 / 90 / 7 - Patton | COMP
401569549 | ZPM2 | 2014-02-21 | 2014-02-22 | gam-5238-error phase t | G97 / 90 / 11 - Patton | ACCE
401571051 | ZPM2 | 2014-02-25 | 2014-02-25 | gam-slip ring inspection | G97 / 90 / 12 - Patton | INTR
401573326 | ZPM2 | 2014-02-25 | 2014-02-25 | gam-slip ring inspection cleaning | G97 / 90 / 12 - Patton | INTR
401573340 | ZPM2 | 2014-02-24 | 2014-02-24 | gam-slip ring inspection | G97 / 78 / 13 - Patton | INTR
401573345 | ZPM2 | 2014-02-26 | 2014-02-26 | gam-slip ring inspection | G97 / 90 / 4 - Patton | EJEC
500564073 | ZPM4 | 2014-02-06 | 2014-02-06 | GAM-N8331301-Two Piece Nace Ladd-5818581 | G97 / 78 / 1 - Patton | COMP
500564077 | ZPM4 | 2014-02-06 | 2014-02-06 | GAM-N8331301-Two Piece Nace Ladd-5818581 | G97 / 90 / 5 - Patton | COMP

## Worker Hours and Remarks
Order | Type | OT Description | WO Description | Asset description | Start Date | Sta. Hour | End Hour | End Date | Work Hours | Work type | Pers.No. | Personnel Name | User Statu | Subc | Name 1 | Work description | Postg date
401529646 | ZPM2 | gam-205 low hyro level | WO Maintenance Small corrective | G97 / 78 / 1 - Patton | 2014-01-15 | 09:32:00 | 12:27:00 | 2014-01-15 | 2.92 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-turbine low on hydro fluid , level was ok, found bad acc, replaced acc checked for leaks all checked good ran turbine | 2014-01-15
401529646 | ZPM2 | gam-205 low hyro level | WO Maintenance Small corrective | G97 / 78 / 1 - Patton | 2014-01-15 | 09:32:00 | 12:27:00 | 2014-01-15 | 2.92 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-turbine low on hydro fluid , level was ok, found bad acc, replaced acc checked for leaks all checked good ran turbine | 2014-01-15
401529646 | ZPM2 | gam-205 low hyro level | WO Maintenance Small corrective | G97 / 78 / 1 - Patton | 2014-01-15 | 09:32:00 | 12:27:00 | 2014-01-15 | 2.92 | Op regular hours | 2001546 | PATTON TECHNICIAN | Complete | 500504 | GAMESA WIND US | 2000856: gam-turbine low on hydro fluid , level was ok, found bad acc, replaced acc checked for leaks all checked good ran turbine | 2014-01-15
401532925 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-01-17 | 22:45:00 | 23:00:00 | 2014-01-17 | 0.25 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401532999 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 4 - Patton | 2014-01-17 | 23:15:00 | 23:20:00 | 2014-01-17 | 0.08 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401533061 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-01-17 | 23:45:00 | 23:59:00 | 2014-01-17 | 0.23 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401533109 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 9 - Patton | 2014-01-18 | 06:45:00 | 07:15:00 | 2014-01-18 | 0.5 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401548161 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-02-03 | 07:00:00 | 11:00:00 | 2014-02-03 | 4 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-meeting stretch and bend,prep tooling to remove yaw drive | 2014-02-03
401548161 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-02-03 | 07:00:00 | 11:00:00 | 2014-02-03 | 4 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-meeting stretch and bend,prep tooling to remove yaw drive | 2014-02-03
401548165 | ZPM2 | gam-107 yaw motor breaker | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-01-29 | 10:27:00 | 20:58:00 | 2014-01-29 | 10.52 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-remove motor from yaw drive, removed yaw drive from nacelle | 2014-02-01
401551163 | ZPM7 | GAM-FRI PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-17 | 07:00:00 | 08:00:00 | 2014-01-17 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-FRI PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401551163 | ZPM7 | GAM-FRI PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-17 | 07:00:00 | 08:00:00 | 2014-01-17 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-FRI PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401551164 | ZPM7 | GAM-FRI PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-24 | 07:00:00 | 08:00:00 | 2014-01-24 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-FRI PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401551164 | ZPM7 | GAM-FRI PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-24 | 07:00:00 | 08:00:00 | 2014-01-24 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-FRI PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401551190 | ZPM7 | GAM-THUR PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-30 | 07:00:00 | 08:00:00 | 2014-01-30 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-THUR PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401552217 | ZPM7 | gam-thursday- park preservation | WO Windfarm preservation | Patton | 2014-02-06 | 07:00:00 | 11:00:00 | 2014-02-06 | 4 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting warehouse cleaning | 2014-02-06
401559273 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-13 | 09:00:00 | 10:00:00 | 2014-02-13 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2118 ALARM INTERBUS FAILURE / INSPECTED FOUND LOOSE CARD | 2014-02-13
401566471 | ZPM7 | gam-mon-park preservation | WO Windfarm preservation | Patton | 2014-02-17 | 07:00:00 | 08:30:00 | 2014-02-17 | 1.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-paper work clean shop gather tools for next job | 2014-02-17
401566472 | ZPM7 | gam-tue-park preservation | WO Windfarm preservation | Patton | 2014-02-18 | 07:00:00 | 08:00:00 | 2014-02-18 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting clean shop | 2014-02-18
401567265 | ZPM7 | gam-fri-park preservation | WO Windfarm preservation | Patton | 2014-02-20 | 07:00:00 | 08:30:00 | 2014-02-20 | 1.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting paper work shop cleaning | 2014-02-20
401567400 | ZPM2 | gam-5237 error on rotor phase s | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-02-18 | 08:30:00 | 11:30:00 | 2014-02-18 | 3 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237 error on rotor phase S went up tower checked converter all looked good, looked at slip ring found arc marks on all | 2014-02-18
401567400 | ZPM2 | gam-5237 error on rotor phase s | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-02-18 | 08:30:00 | 11:30:00 | 2014-02-18 | 3 | Op regular hours | 2000507 | Nathan Paul Palko | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237 error on rotor phase S went up tower checked converter all looked good, looked at slip ring found arc marks on all | 2014-02-18
401567400 | ZPM2 | gam-5237 error on rotor phase s | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-02-19 | 09:00:00 | 16:46:00 | 2014-02-19 | 7.77 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237 error on rotor phase S went up tower checked converter all looked good, looked at slip ring found arc marks on all | 2014-02-19
401567400 | ZPM2 | gam-5237 error on rotor phase s | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-02-19 | 09:00:00 | 16:46:00 | 2014-02-19 | 7.77 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237 error on rotor phase S went up tower checked converter all looked good, looked at slip ring found arc marks on all | 2014-02-19
401567400 | ZPM2 | gam-5237 error on rotor phase s | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-02-19 | 09:00:00 | 16:46:00 | 2014-02-19 | 7.77 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237 error on rotor phase S went up tower checked converter all looked good, looked at slip ring found arc marks on all | 2014-02-19
401567423 | ZPM2 | gam-5237 error rotor phase s | WO Maintenance Small corrective | G97 / 90 / 7 - Patton | 2014-02-13 | 08:00:00 | 18:00:00 | 2014-02-13 | 10 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237-found slip ring bad replaced slip ring | 2014-02-13
401567423 | ZPM2 | gam-5237 error rotor phase s | WO Maintenance Small corrective | G97 / 90 / 7 - Patton | 2014-02-20 | 08:00:00 | 18:00:00 | 2014-02-20 | 10 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-5237-found slip ring bad replaced slip ring | 2014-02-20
500564077 | ZPM4 | GAM-N8331301-Two Piece Nace Ladd-5818581 | WO Design modification | G97 / 90 / 5 - Patton | 2014-02-06 | 10:00:00 | 11:00:00 | 2014-02-06 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-installed two piece ladder durning 12mm | 2014-02-06
401532925 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-01-17 | 22:45:00 | 23:00:00 | 2014-01-17 | 0.25 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401532953 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-01-17 | 22:45:00 | 23:05:00 | 2014-01-17 | 0.33 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401532953 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-01-17 | 22:45:00 | 23:05:00 | 2014-01-17 | 0.33 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401532981 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 12 - Patton | 2014-01-17 | 23:05:00 | 23:15:00 | 2014-01-17 | 0.17 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401532999 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 4 - Patton | 2014-01-17 | 23:15:00 | 23:20:00 | 2014-01-17 | 0.08 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401533008 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-01-17 | 23:25:00 | 23:30:00 | 2014-01-17 | 0.08 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401533008 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-01-17 | 23:25:00 | 23:30:00 | 2014-01-17 | 0.08 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401533033 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 1 - Patton | 2014-01-17 | 23:35:00 | 23:40:00 | 2014-01-17 | 0.08 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401533033 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 1 - Patton | 2014-01-17 | 23:35:00 | 23:40:00 | 2014-01-17 | 0.08 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401533048 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-01-17 | 23:40:00 | 23:45:00 | 2014-01-17 | 0.08 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401533048 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-01-17 | 23:40:00 | 23:45:00 | 2014-01-17 | 0.08 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-21
401533061 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-01-17 | 23:45:00 | 23:59:00 | 2014-01-17 | 0.23 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-17
401533074 | ZPM2 | GAM-700 ALARM PLC/ CONVERTER COMMUNICATI | WO Maintenance Small corrective | G97 / 90 / 17 - Patton | 2014-01-18 | 00:05:00 | 00:10:00 | 2014-01-18 | 0.08 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-700 ALARM PLC/CONVERTER COMM FAILURE / LOCAL RESET | 2014-01-18
401533089 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 10 - Patton | 2014-01-18 | 00:10:00 | 00:15:00 | 2014-01-18 | 0.08 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-18
401533109 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 9 - Patton | 2014-01-18 | 06:45:00 | 07:15:00 | 2014-01-18 | 0.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-01-18
401548164 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-02-04 | 07:00:00 | 10:30:00 | 2014-02-04 | 3.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-prep tools to remove yaw drive | 2014-02-04
401548164 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-02-04 | 07:00:00 | 10:30:00 | 2014-02-04 | 3.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-prep tools to remove yaw drive | 2014-02-04
401548165 | ZPM2 | gam-107 yaw motor breaker | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-01-29 | 10:27:00 | 20:58:00 | 2014-01-29 | 10.52 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-remove motor from yaw drive, removed yaw drive from nacelle | 2014-02-01
401549323 | ZPM2 | gam-804 blade error | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-01-30 | 10:30:00 | 15:49:00 | 2014-01-30 | 5.32 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-found elctro valve to be bent, drained pressure back from system and replaced valve | 2014-02-01
401549323 | ZPM2 | gam-804 blade error | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-01-30 | 10:30:00 | 15:49:00 | 2014-01-30 | 5.32 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-found elctro valve to be bent, drained pressure back from system and replaced valve | 2014-02-01
401549338 | ZPM2 | gam-punch list items | WO Maintenance Small corrective | G97 / 90 / 4 - Patton | 2014-01-16 | 09:30:00 | 10:30:00 | 2014-01-16 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-tower lighting plug was broke replaced plug | 2014-02-01
401549338 | ZPM2 | gam-punch list items | WO Maintenance Small corrective | G97 / 90 / 4 - Patton | 2014-01-16 | 09:30:00 | 10:30:00 | 2014-01-16 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-tower lighting plug was broke replaced plug | 2014-02-01
401549374 | ZPM2 | gam-205 low hydro oil | WO Maintenance Small corrective | G97 / 90 / 5 - Patton | 2014-01-31 | 11:37:00 | 12:23:00 | 2014-01-31 | 0.77 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-205 low hyro level found oil level to be ok, found level sensor to be nok changed out sensor alarm cleared ran tower | 2014-02-01
401549374 | ZPM2 | gam-205 low hydro oil | WO Maintenance Small corrective | G97 / 90 / 5 - Patton | 2014-01-31 | 11:37:00 | 12:23:00 | 2014-01-31 | 0.77 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-205 low hyro level found oil level to be ok, found level sensor to be nok changed out sensor alarm cleared ran tower | 2014-02-01
401550808 | ZPM7 | gam-wend/2-5-14, park preservation | WO Windfarm preservation | Patton | 2014-02-05 | 07:00:00 | 16:00:00 | 2014-02-05 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-clean warehouse, paper work | 2014-02-05
401550808 | ZPM7 | gam-wend/2-5-14, park preservation | WO Windfarm preservation | Patton | 2014-02-05 | 07:00:00 | 16:00:00 | 2014-02-05 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-clean warehouse, paper work | 2014-02-05
401551152 | ZPM7 | GAM-WED PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-15 | 07:00:00 | 08:00:00 | 2014-01-15 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-WED PARK PRESERVATION / POD, STRETCH, PAPERWORK | 2014-02-01
401551152 | ZPM7 | GAM-WED PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-15 | 07:00:00 | 08:00:00 | 2014-01-15 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-WED PARK PRESERVATION / POD, STRETCH, PAPERWORK | 2014-02-01
401551153 | ZPM7 | GAM-THURS PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-16 | 07:00:00 | 08:00:00 | 2014-01-16 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-THURS PARK PRESERVATION / POD, STRETCH, PAPERWORK | 2014-02-01
401551153 | ZPM7 | GAM-THURS PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-16 | 07:00:00 | 08:00:00 | 2014-01-16 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-THURS PARK PRESERVATION / POD, STRETCH, PAPERWORK | 2014-02-01
401551190 | ZPM7 | GAM-THUR PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-30 | 07:00:00 | 08:00:00 | 2014-01-30 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-THUR PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401551196 | ZPM7 | GAM-FRI PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-31 | 07:00:00 | 08:00:00 | 2014-01-31 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-FRI PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401551196 | ZPM7 | GAM-FRI PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-31 | 07:00:00 | 08:00:00 | 2014-01-31 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-FRI PARK PRESERVATION / POD STRETCH PAPERWORK | 2014-02-01
401552217 | ZPM7 | gam-thursday- park preservation | WO Windfarm preservation | Patton | 2014-02-06 | 07:00:00 | 11:00:00 | 2014-02-06 | 4 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting warehouse cleaning | 2014-02-06
401554554 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 10 - Patton | 2014-02-09 | 15:00:00 | 15:25:00 | 2014-02-09 | 0.42 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2118 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-02-09
401554567 | ZPM7 | GAM-SUN PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-02-09 | 14:00:00 | 15:00:00 | 2014-02-09 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-SUN PARK PRESERVATION / ALL TIMES ARE ON CALL DRIVE TIMES | 2014-02-09
401554567 | ZPM7 | GAM-SUN PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-02-09 | 15:25:00 | 16:05:00 | 2014-02-09 | 0.67 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-SUN PARK PRESERVATION / ALL TIMES ARE ON CALL DRIVE TIMES | 2014-02-09
401559259 | ZPM2 | GAM-PLANNED INVESTIGATION OF YAW SYSTEM | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-02-12 | 10:30:00 | 13:15:00 | 2014-02-12 | 2.75 | Op regular hours | 2000507 | Nathan Paul Palko | Complete | 500504 | GAMESA WIND US | 2001212: GAM-PLANNED INVESTIGATION OF YAW SYSTEM WITH ENGINEERS JUAN REDIN AND RIGOBERTO MEDENA | 2014-02-12
401559259 | ZPM2 | GAM-PLANNED INVESTIGATION OF YAW SYSTEM | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-02-12 | 10:30:00 | 13:15:00 | 2014-02-12 | 2.75 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-PLANNED INVESTIGATION OF YAW SYSTEM WITH ENGINEERS JUAN REDIN AND RIGOBERTO MEDENA | 2014-02-12
401559273 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-13 | 09:00:00 | 10:00:00 | 2014-02-13 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2118 ALARM INTERBUS FAILURE / INSPECTED FOUND LOOSE CARD | 2014-02-13
401559273 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-13 | 09:00:00 | 10:00:00 | 2014-02-13 | 1 | Op regular hours | 2000507 | Nathan Paul Palko | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2118 ALARM INTERBUS FAILURE / INSPECTED FOUND LOOSE CARD | 2014-02-13
401566472 | ZPM7 | gam-tue-park preservation | WO Windfarm preservation | Patton | 2014-02-18 | 07:00:00 | 08:00:00 | 2014-02-18 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting clean shop | 2014-02-18
401566473 | ZPM7 | gam-wend-park preservation | WO Windfarm preservation | Patton | 2014-02-19 | 07:00:00 | 08:00:00 | 2014-02-19 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-packing tools to change slip ring | 2014-02-19
401566473 | ZPM7 | gam-wend-park preservation | WO Windfarm preservation | Patton | 2014-02-19 | 07:00:00 | 08:00:00 | 2014-02-19 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-packing tools to change slip ring | 2014-02-19
401567265 | ZPM7 | gam-fri-park preservation | WO Windfarm preservation | Patton | 2014-02-20 | 07:00:00 | 12:00:00 | 2014-02-20 | 5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting paper work shop cleaning | 2014-02-20
401569549 | ZPM2 | gam-5238-error phase t | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-02-21 | 21:30:00 | 23:59:00 | 2014-02-21 | 2.48 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Accepted | 500504 | GAMESA WIND US |  | 2014-02-21
401569549 | ZPM2 | gam-5238-error phase t | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-02-22 | 00:00:00 | 02:15:00 | 2014-02-22 | 2.25 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Accepted | 500504 | GAMESA WIND US |  | 2014-02-22
401569549 | ZPM2 | gam-5238-error phase t | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-02-21 | 21:30:00 | 23:59:00 | 2014-02-21 | 2.48 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Accepted | 500504 | GAMESA WIND US |  | 2014-02-21
401569549 | ZPM2 | gam-5238-error phase t | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-02-22 | 00:00:00 | 02:15:00 | 2014-02-22 | 2.25 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Accepted | 500504 | GAMESA WIND US |  | 2014-02-22
401569549 | ZPM2 | gam-5238-error phase t | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-02-21 | 09:38:00 | 12:30:00 | 2014-02-21 | 2.87 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Accepted | 500504 | GAMESA WIND US |  | 2014-02-21
401569549 | ZPM2 | gam-5238-error phase t | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-02-21 | 09:38:00 | 12:30:00 | 2014-02-21 | 2.87 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Accepted | 500504 | GAMESA WIND US |  | 2014-02-21
401571051 | ZPM2 | gam-slip ring inspection | WO Maintenance Small corrective | G97 / 90 / 12 - Patton | 2014-02-25 | 09:00:00 | 12:00:00 | 2014-02-25 | 3 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Introduced | 500504 | GAMESA WIND US | 2000856: gam-cleaned out slip ring, inspected slip ring body all checked ok ran turbine | 2014-02-25
401571051 | ZPM2 | gam-slip ring inspection | WO Maintenance Small corrective | G97 / 90 / 12 - Patton | 2014-02-25 | 09:00:00 | 12:00:00 | 2014-02-25 | 3 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Introduced | 500504 | GAMESA WIND US | 2000856: gam-cleaned out slip ring, inspected slip ring body all checked ok ran turbine | 2014-02-25
401573326 | ZPM2 | gam-slip ring inspection cleaning | WO Maintenance Small corrective | G97 / 90 / 12 - Patton | 2014-02-25 | 09:00:00 | 12:00:00 | 2014-02-25 | 3 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Introduced | 500504 | GAMESA WIND US | 2000856: gam-cleaning inspection on slip ring, cleaned out slip ring all checked ok ran turbine | 2014-03-01
401573326 | ZPM2 | gam-slip ring inspection cleaning | WO Maintenance Small corrective | G97 / 90 / 12 - Patton | 2014-02-25 | 09:00:00 | 12:00:00 | 2014-02-25 | 3 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Introduced | 500504 | GAMESA WIND US | 2000856: gam-cleaning inspection on slip ring, cleaned out slip ring all checked ok ran turbine | 2014-03-01
401573340 | ZPM2 | gam-slip ring inspection | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-24 | 09:30:00 | 13:00:00 | 2014-02-24 | 3.5 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Introduced | 500504 | GAMESA WIND US | 2000856: gam-inspection of slip ring found to be dirty, cleaned slip ring and replaced brushes | 2014-03-01
401573340 | ZPM2 | gam-slip ring inspection | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-24 | 09:30:00 | 13:00:00 | 2014-02-24 | 3.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Introduced | 500504 | GAMESA WIND US | 2000856: gam-inspection of slip ring found to be dirty, cleaned slip ring and replaced brushes | 2014-03-01
401546592 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-21 | 07:00:00 | 16:00:00 | 2014-01-21 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting bend and stretch,safety meeting on multimeter, cleaned shop | 2014-02-01
401546598 | ZPM7 | GAM-THURS PARK PRESERVATION / ALL TIME | WO Windfarm preservation | Patton | 2014-01-23 | 20:00:00 | 20:45:00 | 2014-01-23 | 0.75 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: GAM-THURS PARK PRESERVATION / ALL TIMES ARE ON CALL DRIVE TIMES | 2014-02-01
401546600 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-01-26 | 02:30:00 | 03:00:00 | 2014-01-26 | 0.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / RESET | 2014-02-01
401546615 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-29 | 07:00:00 | 16:00:00 | 2014-01-29 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam meeting clean wearhouse | 2014-02-01
401556232 | ZPM2 | GAM-2106 ALARM PREVENTATIVE DESIGN MOD | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-02-10 | 13:30:00 | 19:00:00 | 2014-02-10 | 5.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM PREVENTATIVE DESIGN MOD | 2014-02-10
401556232 | ZPM2 | GAM-2106 ALARM PREVENTATIVE DESIGN MOD | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-02-10 | 13:30:00 | 19:00:00 | 2014-02-10 | 5.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM PREVENTATIVE DESIGN MOD | 2014-02-10
401559219 | ZPM2 | GAM-PLANNED INVESTIGATION OF YAW DRIVES | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-02-11 | 14:00:00 | 21:30:00 | 2014-02-11 | 7.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-PLANNED INVESTIGATION OF YAW DRIVES WITH ENGINEERS JUAN REDIN, AND RIGOBERTO MEDENA | 2014-02-11
500564073 | ZPM4 | GAM-N8331301-Two Piece Nace Ladd-5818581 | WO Design modification | G97 / 78 / 1 - Patton | 2014-02-06 | 10:00:00 | 11:00:00 | 2014-02-06 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-installed two piece ladder during 12mm | 2014-02-06
500564077 | ZPM4 | GAM-N8331301-Two Piece Nace Ladd-5818581 | WO Design modification | G97 / 90 / 5 - Patton | 2014-02-06 | 10:00:00 | 11:00:00 | 2014-02-06 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-installed two piece ladder durning 12mm | 2014-02-06
401534637 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-20 | 07:00:00 | 16:00:00 | 2014-01-20 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-pod,bend and stretch, clean warehouse | 2014-01-20
401534637 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-20 | 07:00:00 | 16:00:00 | 2014-01-20 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-pod,bend and stretch, clean warehouse | 2014-01-20
401546591 | ZPM7 | GAM-WED PARK PRESERVATION / PRODUCTION | WO Windfarm preservation | Patton | 2014-01-22 | 07:00:00 | 15:30:00 | 2014-01-22 | 8.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-WED PARK PRESERVATION / PRODUCTION DAY | 2014-02-01
401546596 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-23 | 07:00:00 | 16:00:00 | 2014-01-23 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting bend and stretch,clean office,checked site roads for snow removal | 2014-02-01
401546592 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-21 | 07:00:00 | 16:00:00 | 2014-01-21 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting bend and stretch,safety meeting on multimeter, cleaned shop | 2014-02-01
401546599 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 78 / 3 - Patton | 2014-01-26 | 02:15:00 | 02:30:00 | 2014-01-26 | 0.25 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-02-01
401546603 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-28 | 07:00:00 | 16:00:00 | 2014-01-28 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-meeting clean wearhouse, paperwork | 2014-02-01
401546596 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-23 | 07:00:00 | 16:00:00 | 2014-01-23 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-morning meeting bend and stretch,clean office,checked site roads for snow removal | 2014-02-01
401546615 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-29 | 07:00:00 | 16:00:00 | 2014-01-29 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam meeting clean wearhouse | 2014-02-01
401546597 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 5 - Patton | 2014-01-23 | 19:45:00 | 20:00:00 | 2014-01-23 | 0.25 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-02-01
401546597 | ZPM2 | GAM-2106 ALARM INTERBUS FAILURE / LOCA | WO Maintenance Small corrective | G97 / 90 / 5 - Patton | 2014-01-23 | 19:45:00 | 20:00:00 | 2014-01-23 | 0.25 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET | 2014-02-01
401546603 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-28 | 07:00:00 | 16:00:00 | 2014-01-28 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-meeting clean wearhouse, paperwork | 2014-02-01
401546614 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-27 | 07:00:00 | 16:00:00 | 2014-01-27 | 9 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-meeting paper work | 2014-02-01
401546598 | ZPM7 | GAM-THURS PARK PRESERVATION / ALL TIME | WO Windfarm preservation | Patton | 2014-01-23 | 19:00:00 | 19:45:00 | 2014-01-23 | 0.75 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: GAM-THURS PARK PRESERVATION / ALL TIMES ARE ON CALL DRIVE TIMES | 2014-02-01
401546598 | ZPM7 | GAM-THURS PARK PRESERVATION / ALL TIME | WO Windfarm preservation | Patton | 2014-01-23 | 19:00:00 | 19:45:00 | 2014-01-23 | 0.75 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: GAM-THURS PARK PRESERVATION / ALL TIMES ARE ON CALL DRIVE TIMES | 2014-02-01
401546598 | ZPM7 | GAM-THURS PARK PRESERVATION / ALL TIME | WO Windfarm preservation | Patton | 2014-01-23 | 20:00:00 | 20:45:00 | 2014-01-23 | 0.75 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: GAM-THURS PARK PRESERVATION / ALL TIMES ARE ON CALL DRIVE TIMES | 2014-02-01
401546614 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-01-27 | 07:00:00 | 16:00:00 | 2014-01-27 | 9 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-meeting paper work | 2014-02-01
401550974 | ZPM7 | GAM-TUES PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-01-14 | 07:00:00 | 08:00:00 | 2014-01-14 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-TUES PARK PRESERVATION / POD, STRECH, PAPERWORK | 2014-02-01
401550974 | ZPM7 | GAM-TUES PARK PRESERVATION | WO Windfarm preservation | Patton | 2014-02-06 | 07:00:00 | 08:00:00 | 2014-02-06 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-TUES PARK PRESERVATION / POD, STRECH, PAPERWORK | 2014-02-06
401556214 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE / TROU | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-10 | 12:00:00 | 12:30:00 | 2014-02-10 | 0.5 | Op regular hours | 2000507 | Nathan Paul Palko | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / TROUBLESHOOT / RESET | 2014-02-10
401556214 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE / TROU | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-10 | 12:00:00 | 12:30:00 | 2014-02-10 | 0.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / TROUBLESHOOT / RESET | 2014-02-10
401556214 | ZPM2 | GAM-2118 ALARM INTERBUS FAILURE / TROU | WO Maintenance Small corrective | G97 / 78 / 13 - Patton | 2014-02-10 | 12:00:00 | 12:30:00 | 2014-02-10 | 0.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM INTERBUS FAILURE / TROUBLESHOOT / RESET | 2014-02-10
401556232 | ZPM2 | GAM-2106 ALARM PREVENTATIVE DESIGN MOD | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-02-10 | 13:30:00 | 19:00:00 | 2014-02-10 | 5.5 | Op regular hours | 2000507 | Nathan Paul Palko | Complete | 500504 | GAMESA WIND US | 2001212: GAM-2106 ALARM PREVENTATIVE DESIGN MOD | 2014-02-10
401556246 | ZPM7 | gam-mon-park preservation | WO Windfarm preservation | Patton | 2014-02-10 | 07:00:00 | 12:00:00 | 2014-02-10 | 5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-paper work clean shop | 2014-02-10
401556246 | ZPM7 | gam-mon-park preservation | WO Windfarm preservation | Patton | 2014-02-10 | 07:00:00 | 12:00:00 | 2014-02-10 | 5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2000856: gam-paper work clean shop | 2014-02-10
401556752 | ZPM2 | GAM-300 ALARM ANEMOMETER FAILURE | WO Maintenance Small corrective | G97 / 90 / 7 - Patton | 2014-02-11 | 08:30:00 | 14:00:00 | 2014-02-11 | 5.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2001212: GAM-300 ANEMOMETER FAILURE / REPLACED ANEMOMETER AND WIND VANE, WHICH WERE DAMAGED BY ICE, FOUND GEARBOX PUMP WAS LEAKING | 2014-02-11
401556752 | ZPM2 | GAM-300 ALARM ANEMOMETER FAILURE | WO Maintenance Small corrective | G97 / 90 / 7 - Patton | 2014-02-11 | 08:30:00 | 14:00:00 | 2014-02-11 | 5.5 | Op regular hours | 2000507 | Nathan Paul Palko | Complete | 500504 | GAMESA WIND US | 2001212: GAM-300 ANEMOMETER FAILURE / REPLACED ANEMOMETER AND WIND VANE, WHICH WERE DAMAGED BY ICE, FOUND GEARBOX PUMP WAS LEAKING | 2014-02-11
401556752 | ZPM2 | GAM-300 ALARM ANEMOMETER FAILURE | WO Maintenance Small corrective | G97 / 90 / 7 - Patton | 2014-02-11 | 08:30:00 | 14:00:00 | 2014-02-11 | 5.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-300 ANEMOMETER FAILURE / REPLACED ANEMOMETER AND WIND VANE, WHICH WERE DAMAGED BY ICE, FOUND GEARBOX PUMP WAS LEAKING | 2014-02-11
401556752 | ZPM2 | GAM-300 ALARM ANEMOMETER FAILURE | WO Maintenance Small corrective | G97 / 90 / 7 - Patton | 2014-02-11 | 09:00:00 | 11:00:00 | 2014-02-11 | 2 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | GAMESA WIND US | 2001212: GAM-300 ANEMOMETER FAILURE / REPLACED ANEMOMETER AND WIND VANE, WHICH WERE DAMAGED BY ICE, FOUND GEARBOX PUMP WAS LEAKING | 2014-02-12
401559219 | ZPM2 | GAM-PLANNED INVESTIGATION OF YAW DRIVES | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-02-11 | 14:00:00 | 21:30:00 | 2014-02-11 | 7.5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | GAMESA WIND US | 2001212: GAM-PLANNED INVESTIGATION OF YAW DRIVES WITH ENGINEERS JUAN REDIN, AND RIGOBERTO MEDENA | 2014-02-11
500564073 | ZPM4 | GAM-N8331301-Two Piece Nace Ladd-5818581 | WO Design modification | G97 / 78 / 1 - Patton | 2014-02-06 | 10:00:00 | 11:00:00 | 2014-02-06 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | GAMESA WIND US | 2000856: gam-installed two piece ladder during 12mm | 2014-02-06

## Stop times
Order | Order Type | Plant | UserStatus | WO Description | FunctLocDescrip. | Start Date | Time | End date | Stop time | Total Stop | Windfarm | Functional Location | Line Hours | Employee | Production | WindT. hou | Wind T. Av | External c | Descrip. o | System Status | Remarks
401529646 | ZPM2 | 1320 | COMP | gam-205 low hyro level | G97 / 78 / 1 - Patton | 2014-01-15 | 09:32:00 | 2014-01-15 | 12:27:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-001 |  | 02000856 | KWH | 9089.00 |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-turbine low on hydro fluid , level was ok, found bad acc, replaced acc checked for leaks all checked good ran turbine
401532925 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 11 - Patton | 2014-01-17 | 21:27:00 | 2014-01-17 | 22:55:00 | 1:28:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-001 |  | 02001212 | KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401532953 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 13 - Patton | 2014-01-17 | 21:28:00 | 2014-01-17 | 23:04:00 | 1:36:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-003 |  | 02001212 | 5881629.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401532981 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 12 - Patton | 2014-01-17 | 21:23:00 | 2014-01-17 | 23:10:00 | 1:47:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-002 | 10145.00 | 02001212 | 7619081.00 KWH | 9869.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401532999 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 4 - Patton | 2014-01-17 | 21:24:00 | 2014-01-17 | 23:21:00 | 1:57:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-004 | 9505.00 | 02001212 | 7881232.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401533008 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 3 - Patton | 2014-01-17 | 21:24:00 | 2014-01-17 | 23:21:00 | 1:57:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-003 | 9505.00 | 02001212 | KWH | 9069.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401533033 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 1 - Patton | 2014-01-17 | 21:24:00 | 2014-01-17 | 23:40:00 | 2:16:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-001 |  | 02001212 | 7877753.00 KWH | 9185.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401533048 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 2 - Patton | 2014-01-17 | 20:47:00 | 2014-01-17 | 23:46:00 | 2:59:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-002 | 9619.00 | 02001212 | KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401533061 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 8 - Patton | 2014-01-17 | 21:29:00 | 2014-01-18 | 00:02:00 | 2:33:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-007 | 9204.00 | 02001212 | KWH | 8914.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401533074 | ZPM2 | 1320 | COMP | GAM-700 ALARM PLC/ CONVERTER COMMUNICATI | G97 / 90 / 17 - Patton | 2014-01-17 | 21:26:00 | 2014-01-18 | 00:10:00 | 2:44:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-009 | 9334.00 | 02001212 | 6977571.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-700 ALARM PLC/CONVERTER COMM FAILURE / LOCAL RESET
401533089 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 10 - Patton | 2014-01-17 | 21:26:00 | 2014-01-18 | 00:17:00 | 2:51:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-010 | 5804.00 | 02001212 | 3836481.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401533109 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 9 - Patton | 2014-01-18 | 02:36:00 | 2014-01-18 | 07:13:00 | 4:37:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-008 | 9490.00 | 02001212 | 6568649.00 KWH | 9164.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401546597 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 5 - Patton | 2014-01-23 | 16:23:00 | 2014-01-23 | 19:51:00 | 3:28:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-005 | 9671.00 | 02000856 | 7537410.00 KWH | 9236.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2000856: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401546599 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 78 / 3 - Patton | 2014-01-26 | 01:00:00 | 2014-01-26 | 02:27:00 | 1:27:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-003 | 9916.00 | 02001212 | 8456328.00 KWH | 9502.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / LOCAL RESET
401546600 | ZPM2 | 1320 | COMP | GAM-2106 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 8 - Patton | 2014-01-26 | 01:27:00 | 2014-01-26 | 03:03:00 | 1:36:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-007 | 9376.00 | 02001212 | KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / RESET
401548165 | ZPM2 | 1320 | COMP | gam-107 yaw motor breaker | G97 / 90 / 8 - Patton | 2014-01-29 | 10:27:00 | 2014-01-29 | 20:58:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-007 | 9565.00 | 02000856 | KWH | 9270.00 |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-remove motor from yaw drive, removed yaw drive from nacelle
401549323 | ZPM2 | 1320 | COMP | gam-804 blade error | G97 / 78 / 13 - Patton | 2014-01-30 | 10:30:00 | 2014-01-30 | 15:49:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-003 | 10266.00 | 02000856 | KWH | 9759.00 |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-found elctro valve to be bent, drained pressure back from system and replaced valve
401549374 | ZPM2 | 1320 | COMP | gam-205 low hydro oil | G97 / 90 / 5 - Patton | 2014-01-31 | 11:37:00 | 2014-01-31 | 12:23:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-005 | 9961.00 | 02000856 | KWH | 9523.00 |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-205 low hyro level found oil level to be ok, found level sensor to be nok changed out sensor alarm cleared ran tower
401554554 | ZPM2 | 1320 | COMP | GAM-2118 ALARM INTERBUS FAILURE / LOCA | G97 / 90 / 10 - Patton | 2014-02-09 | 13:40:00 | 2014-02-09 | 15:21:00 | 1:41:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-010 |  | 02001212 | 4301976.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2118 ALARM INTERBUS FAILURE / LOCAL RESET
401556214 | ZPM2 | 1320 | COMP | GAM-2118 ALARM INTERBUS FAILURE / TROU | G97 / 78 / 13 - Patton | 2014-02-10 | 12:00:00 | 2014-02-10 | 12:23:00 | 0:23:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-003 |  | 02001212 | KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM INTERBUS FAILURE / TROUBLESHOOT / RESET
401556232 | ZPM2 | 1320 | COMP | GAM-2106 ALARM PREVENTATIVE DESIGN MOD | G97 / 90 / 2 - Patton | 2014-02-10 | 13:31:00 | 2014-02-10 | 18:58:00 | 5:27:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-002 |  | 02001212 | 8175118.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2106 ALARM PREVENTATIVE DESIGN MOD
401556752 | ZPM2 | 1320 | COMP | GAM-300 ALARM ANEMOMETER FAILURE | G97 / 90 / 7 - Patton | 2014-02-11 | 08:46:00 | 2014-02-11 | 13:46:00 | 5:00:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-011 | 9992.00 | 02001212 | 7157996.00 KWH |  |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2001212: GAM-300 ANEMOMETER FAILURE / REPLACED ANEMOMETER AND WIND VANE, WHICH WERE DAMAGED BY ICE, FOUND GEARBOX PUMP WAS LEAKING AND REPLACED
401559219 | ZPM2 | 1320 | COMP | GAM-PLANNED INVESTIGATION OF YAW DRIVES | G97 / 90 / 8 - Patton | 2014-02-11 | 15:24:00 | 2014-02-11 | 20:44:00 | 5:20:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-007 | 9775.00 | 02001212 | 6528227.00 KWH | 9476.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-PLANNED INVESTIGATION OF YAW DRIVES WITH ENGINEERS JUAN REDIN, AND RIGOBERTO MEDENA
401559259 | ZPM2 | 1320 | COMP | GAM-PLANNED INVESTIGATION OF YAW SYSTEM | G97 / 90 / 8 - Patton | 2014-02-12 | 10:41:00 | 2014-02-12 | 13:10:00 | 2:29:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-007 |  | 02001212 | 6528228.00 KWH | 9476.00 |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-PLANNED INVESTIGATION OF YAW SYSTEM WITH ENGINEERS JUAN REDIN AND RIGOBERTO MEDENA
401559273 | ZPM2 | 1320 | COMP | GAM-2118 ALARM INTERBUS FAILURE | G97 / 78 / 13 - Patton | 2014-02-13 | 09:10:00 | 2014-02-13 | 09:51:00 | 0:41:00 | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-003 |  | 02001212 | 6299954.00 KWH |  |  | 0000 |  | CLSD PCNF NMAT SETC | 2001212: GAM-2118 ALARM INTERBUS FAILURE / INSPECTED FOUND LOOSE CARD
401567400 | ZPM2 | 1320 | COMP | gam-5237 error on rotor phase s | G97 / 78 / 3 - Patton | 2014-02-18 | 16:42:00 | 2014-02-19 | 16:46:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-003 | 10502.00 | 02000856 | KWH |  |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-5237 error on rotor phase S went up tower checked converter all looked good, looked at slip ring found arc marks on all phases of slip ring. removed old slip replaced with new. replaced tape on slip ring knuckles applyed the proper paint to
401567423 | ZPM2 | 1320 | COMP | gam-5237 error rotor phase s | G97 / 90 / 7 - Patton | 2014-02-19 | 06:00:00 | 2014-02-20 | 17:43:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-011 |  | 02000856 | KWH |  |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-5237-found slip ring bad replaced slip ring
401569549 | ZPM2 | 1320 | ACCE | gam-5238-error phase t | G97 / 90 / 11 - Patton | 2014-02-21 | 09:33:00 | 2014-02-22 | 02:15:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-001 |  | 02000856 | KWH |  |  | 0000 |  | REL PCNF GMPS NMAT SETC
401571051 | ZPM2 | 1320 | INTR | gam-slip ring inspection | G97 / 90 / 12 - Patton | 2014-02-25 | 09:12:00 | 2014-02-25 | 11:52:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-002 |  | 02000856 | 8809032.00 KWH |  |  | 0000 |  | REL PCNF GMPS NMAT SETC | 2000856: gam-cleaned out slip ring, inspected slip ring body all checked ok ran turbine
401573326 | ZPM2 | 1320 | INTR | gam-slip ring inspection cleaning | G97 / 90 / 12 - Patton | 2014-02-25 | 09:12:00 | 2014-02-25 | 11:52:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-002 | 11061.00 | 02000856 | 858658.00 KWH | 10775.00 |  | 0000 |  | REL PCNF NMAT SETC | 2000856: gam-cleaning inspection on slip ring, cleaned out slip ring all checked ok ran turbine
401573340 | ZPM2 | 1320 | INTR | gam-slip ring inspection | G97 / 78 / 13 - Patton | 2014-02-24 | 09:41:00 | 2014-02-24 | 12:45:00 |  | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-003 |  | 02000856 | KWH | 10283.00 |  | 0000 |  | REL PCNF NMAT SETC | 2000856: gam-inspection of slip ring found to be dirty, cleaned slip ring and replaced brushes

## Consumptions
Order | Material | Material Description | MvT | SLoc | Plant | Mat. Doc. | Mat. Doc. | Serial no. | Description | Functional Location | Type | Doc. Date | Quantity | EUn | Pstng Date
401571051 | GP003575 | SILICE TAPE SCOTCH 70 | 965 | 1121 | 1320 | 4911320278 |  |  | Patton | WF-US-0PA-1121-Y1-A-002 | ZPM2 | 2014-02-25 | 9 | M | 2014-03-01
500564073 | P340009 | LADDER RETAINING SUPPORT | 965 | 1121 | 1320 | 4911219208 |  |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-01-06 | 2 | ST | 2014-02-06
500564073 | GP012766 | FA NACELLE ACCESS LADDER G8X | 965 | 1121 | 1320 | 4911219209 |  |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-01-06 | 1 | ST | 2014-02-06
500564073 | GP004247 | Hex.head SCR.ISO 4017 M8x45 8.8 DAC500A | 965 | 1121 | 1320 | 4911219210 |  |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-01-06 | 2 | ST | 2014-02-06
500564073 | P650226 | ISO 7093 M8 NYLON WAS. | 965 | 1121 | 1320 | 4911219163 |  |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-01-06 | 4 | ST | 2014-02-06
500564073 | P670159 | NUT ISO 10511-M8-04-Zn-Ni-PAS,CHR+S | 965 | 1121 | 1320 | 4911219234 |  |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-01-06 | 2 | ST | 2014-02-06
500564077 | GP012766 | FA NACELLE ACCESS LADDER G8X | 965 | 1121 | 1320 | 4911219235 |  |  | Patton | WF-US-0PA-1121-Y2-A-005 | ZPM4 | 2014-01-06 | 1 | ST | 2014-02-06
500564077 | GP004247 | Hex.head SCR.ISO 4017 M8x45 8.8 DAC500A | 965 | 1121 | 1320 | 4911219236 |  |  | Patton | WF-US-0PA-1121-Y2-A-005 | ZPM4 | 2014-01-06 | 2 | ST | 2014-02-06
500564077 | P340009 | LADDER RETAINING SUPPORT | 965 | 1121 | 1320 | 4911219226 |  |  | Patton | WF-US-0PA-1121-Y2-A-005 | ZPM4 | 2014-01-06 | 2 | ST | 2014-02-06
500564077 | P670159 | NUT ISO 10511-M8-04-Zn-Ni-PAS,CHR+S | 965 | 1121 | 1320 | 4911219227 |  |  | Patton | WF-US-0PA-1121-Y2-A-005 | ZPM4 | 2014-01-06 | 2 | ST | 2014-02-06
500564077 | P650226 | ISO 7093 M8 NYLON WAS. | 965 | 1121 | 1320 | 4911219228 |  |  | Patton | WF-US-0PA-1121-Y2-A-005 | ZPM4 | 2014-01-06 | 4 | ST | 2014-02-06
401567400 | GP003575 | SILICE TAPE SCOTCH 70 | 965 | 1121 | 1320 | 4911290364 |  |  | Patton | WF-US-0PA-1121-Y2-A-003 | ZPM2 | 2014-02-19 | 9 | M | 2014-02-21
401567400 | GP062214 | SLIP RING UNIT | 965 | 1121 | 1320 | 4911290365 |  |  | Patton | WF-US-0PA-1121-Y2-A-003 | ZPM2 | 2014-02-19 | 1 | ST | 2014-02-21
401567400 | GP062214 | SLIP RING UNIT | 967 | 1999 | 1312 | 4911290366 |  |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-003 | ZPM2 | 2014-02-19 | 1 | ST | 2014-02-21
401567400 | 1R1524CRFJJ | ADHESIVE TAPE 0.18x19 SCOTCH-69 | 965 | 1121 | 1320 | 4911290368 |  |  | Patton | WF-US-0PA-1121-Y2-A-003 | ZPM2 | 2014-02-19 | 20 | M | 2014-02-21
401556752 | 9000602 | NRG B302 AND B303 WINDVANE | 965 | 1121 | 1320 | 4911241389 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 1 | ST | 2014-02-12
401556752 | 9000602 | NRG B302 AND B303 WINDVANE | 967 | 1999 | 1312 | 4911241390 |  |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 1 | ST | 2014-02-12
401556752 | GP007852 | ELASTIC FITTING AMC-SCB 25 | 965 | 1121 | 1320 | 4911241391 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 4 | ST | 2014-02-12
401556752 | 9000601 | NRG B301 ANEMOMETER | 965 | 1121 | 1320 | 4911241392 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 1 | ST | 2014-02-12
401556752 | 9000601 | NRG B301 ANEMOMETER | 967 | 1999 | 1312 | 4911241393 |  |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 1 | ST | 2014-02-12
401556752 | GP097008 | MOTOPUMP B-P 60HZ 100L/MIN 3KW_PX045#4B | 965 | 1121 | 1320 | 4911241415 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 1 | ST | 2014-02-12
401556752 | GP097008 | MOTOPUMP B-P 60HZ 100L/MIN 3KW_PX045#4B | 967 | 1999 | 1312 | 4911241416 |  |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-11 | 1 | ST | 2014-02-12
401549323 | 50786 | ELECTRICALLY OPERATED VALVE 02-176361 | 965 | 1121 | 1320 | 4911213094 |  |  | Patton | WF-US-0PA-1121-Y1-A-003 | ZPM2 | 2014-01-30 | 1 | ST | 2014-02-05
401549338 | GP101673 | QUICK CONNECTOR FEMALE 4P+E 16A | 965 | 1121 | 1320 | 4911213138 |  |  | Patton | WF-US-0PA-1121-Y2-A-004 | ZPM2 | 2013-12-16 | 1 | ST | 2014-02-05
401549374 | GP069609 | LEVEL SWITCH HINE LM1FA450NASP-WARNING | 965 | 1121 | 1320 | 4911213142 |  |  | Patton | WF-US-0PA-1121-Y2-A-005 | ZPM2 | 2013-12-31 | 1 | ST | 2014-02-05
401567423 | GP003575 | SILICE TAPE SCOTCH 70 | 965 | 1121 | 1320 | 4911290750 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-20 | 9 | M | 2014-02-21
401567423 | GP062214 | SLIP RING UNIT | 965 | 1121 | 1320 | 4911290754 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-13 | 1 | ST | 2014-02-21
401567423 | GP062214 | SLIP RING UNIT | 967 | 1999 | 1312 | 4911290755 |  |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-13 | 1 | ST | 2014-02-21
401567423 | 1R1524CRFJJ | ADHESIVE TAPE 0.18x19 SCOTCH-69 | 965 | 1121 | 1320 | 4911290756 |  |  | Patton | WF-US-0PA-1121-Y2-A-011 | ZPM2 | 2014-02-20 | 20 | M | 2014-02-21
401569549 | 1R1524CRFJJ | ADHESIVE TAPE 0.18x19 SCOTCH-69 | 965 | 1121 | 1320 | 4911300474 |  |  | Patton | WF-US-0PA-1121-Y1-A-001 | ZPM2 | 2014-02-21 | 20 | M | 2014-02-24
401569549 | GP003575 | SILICE TAPE SCOTCH 70 | 965 | 1121 | 1320 | 4911300475 |  |  | Patton | WF-US-0PA-1121-Y1-A-001 | ZPM2 | 2014-02-21 | 9 | M | 2014-02-24
401548165 | GP118569 | BONFIGLIOLI YAW GEARBOX G9X C4H | 965 | 1121 | 1320 | 4911209560 |  |  | Patton | WF-US-0PA-1121-Y2-A-007 | ZPM2 | 2014-01-29 | 2 | ST | 2014-02-04
401548165 | GP118569 | BONFIGLIOLI YAW GEARBOX G9X C4H | 967 | 1999 | 1312 | 4911209561 |  |  |  | WF-US-0PA-1121-Y2-A-007 | ZPM2 | 2014-01-29 | 2 | ST | 2014-02-04
401529646 | GP043460 | ACCU. 24.5L PREFILL PRESS. 73 BAR. (CE-A | 965 | 1121 | 1320 | 4911130435 |  |  |  | WF-US-0PA-1121-Y2-A-001 | ZPM2 | 2014-01-15 | 1 | ST | 2014-01-16
401529646 | GP043460 | ACCU. 24.5L PREFILL PRESS. 73 BAR. (CE-A | 967 | 1999 | 1312 | 4911130436 |  |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-001 | ZPM2 | 2014-01-15 | 1 | ST | 2014-01-16