## General WO Info
Order | Order Type | Bas. start date | Description | Description | System status | User status | Functional loc. | Changed by | Basic fin. date | Changed on | Created on | Asset | Main WorkCtr | Total settlemt | Cost Center | WBS element | WBS ord. header
401576693 | ZPM2 | 2014-03-03 | gam-pitch ram cover dm | G97 / 90 / 11 - Patton | CLSD PCNF NMAT SETC | COMP | WF-US-0PA-1121-Y1-A-001 | CMICHELOTTI1 | 2014-03-03 | 2014-03-05 | 2014-03-03 |  | ZPM_1121 | 0
401576745 | ZPM7 | 2014-03-03 | gam-mon park preservation | Patton | CLSD PCNF NMAT SETC | COMP | WF-US-0PA-1121 | CMICHELOTTI1 | 2014-03-03 | 2014-03-05 | 2014-03-03 |  | ZPM_1121 | 0
401580634 | ZPM2 | 2014-03-06 | gam-107 yaw motor circuit breaker | G97 / 90 / 6 - Patton | CLSD PCNF GMPS NMAT SETC | COMP | WF-US-0PA-1121-Y2-A-006 | CMICHELOTTI1 | 2014-03-06 | 2014-03-07 | 2014-03-06 |  | ZPM_1121 | 0
401581140 | ZPM2 | 2014-03-05 | gam-punch list item | G97 / 90 / 6 - Patton | CLSD PCNF GMPS NMAT SETC | COMP | WF-US-0PA-1121-Y2-A-006 | CMICHELOTTI1 | 2014-03-05 | 2014-03-10 | 2014-03-07 |  | ZPM_1121 | 0
401581174 | ZPM2 | 2014-03-04 | gam-118 yaw motor error | G97 / 90 / 8 - Patton | CLSD PCNF GMPS NMAT SETC | COMP | WF-US-0PA-1121-Y2-A-007 | CMICHELOTTI1 | 2014-03-04 | 2014-03-10 | 2014-03-07 |  | ZPM_1121 | 0
401581243 | ZPM7 | 2014-03-07 | gam-park preservation | Patton | CLSD PCNF NMAT SETC | COMP | WF-US-0PA-1121 | CMICHELOTTI1 | 2014-03-07 | 2014-03-11 | 2014-03-07 |  | ZPM_1121 | 0
401581682 | ZPM7 | 2014-03-05 | gam-wend park preservation | Patton | CLSD PCNF NMAT SETC | COMP | WF-US-0PA-1121 | CMICHELOTTI1 | 2014-03-05 | 2014-03-11 | 2014-03-07 |  | ZPM_1121 | 0
401581683 | ZPM7 | 2014-03-06 | gam-thur park preservation | Patton | CLSD PCNF NMAT SETC | COMP | WF-US-0PA-1121 | CMICHELOTTI1 | 2014-03-06 | 2014-03-11 | 2014-03-07 |  | ZPM_1121 | 0
401582848 | ZPM7 | 2014-03-10 | gam- mon-park preservation | Patton | CLSD PCNF NMAT SETC | COMP | WF-US-0PA-1121 | CMICHELOTTI1 | 2014-03-10 | 2014-03-13 | 2014-03-10 |  | ZPM_1121 | 0
401582862 | ZPM2 | 2014-03-07 | gam-slip ring inspection | G97 / 90 / 2 - Patton | CLSD PCNF GMPS NMAT SETC | COMP | WF-US-0PA-1121-Y2-A-002 | CMICHELOTTI1 | 2014-03-07 | 2014-03-13 | 2014-03-10 |  | ZPM_1121 | 0
401583356 | ZPM2 | 2014-03-10 | GAM-404 ALARM HIGH TEMP MAIN BEARING | G97 / 90 / 2 - Patton | CLSD PCNF GMPS NMAT SETC | COMP | WF-US-0PA-1121-Y2-A-002 | CMICHELOTTI1 | 2014-03-10 | 2014-03-11 | 2014-03-10 |  | ZPM_1121 | 0
500481492 | ZPM4 | 2014-03-07 | GAM-8041201 HYDRAULIC RE-ROUTING | G97 / 78 / 1 - Patton | REL PCNF GMPS NMAT SETC | EJEC | WF-US-0PA-1121-Y2-A-001 | CMICHELOTTI1 | 2014-03-07 | 2014-03-10 | 2013-02-21 |  | ZPM_1121 | 0

## Worker Hours and Remarks
Order | Type | OT Description | WO Description | Asset description | Start Date | Sta. Hour | End Date | End Hour | Work Hours | Work type | Pers.No. | Personnel Name | User Statu | Subc | Name | Work description | Postg date
401576693 | ZPM2 | gam-pitch ram cover dm | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-03-03 | 09:00:00 | 2014-03-03 | 09:50:00 | 0.83 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-installed new pitch ram shaft cover | 2014-03-03
401576693 | ZPM2 | gam-pitch ram cover dm | WO Maintenance Small corrective | G97 / 90 / 11 - Patton | 2014-03-03 | 09:00:00 | 2014-03-03 | 09:50:00 | 0.83 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US | 2000856: gam-installed new pitch ram shaft cover | 2014-03-03
401576745 | ZPM7 | gam-mon park preservation | WO Windfarm preservation | Patton | 2014-03-03 | 07:00:00 | 2014-03-03 | 09:00:00 | 2 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US | 2000856: gam-morning meeting shop cleaning | 2014-03-03
401576745 | ZPM7 | gam-mon park preservation | WO Windfarm preservation | Patton | 2014-03-03 | 07:00:00 | 2014-03-03 | 09:00:00 | 2 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-morning meeting shop cleaning | 2014-03-03
401576745 | ZPM7 | gam-mon park preservation | WO Windfarm preservation | Patton | 2014-03-03 | 10:00:00 | 2014-03-03 | 15:30:00 | 5.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-morning meeting shop cleaning | 2014-03-03
401580634 | ZPM2 | gam-107 yaw motor circuit breaker | WO Maintenance Small corrective | G97 / 90 / 6 - Patton | 2014-03-06 | 07:00:00 | 2014-03-06 | 16:30:00 | 9.5 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | Gamesa Wind US | 2000856: gam-found brokin drive removed yaw replace with new drive checked motor and drive for proper fit all checked ok ran turbine | 2014-03-06
401580634 | ZPM2 | gam-107 yaw motor circuit breaker | WO Maintenance Small corrective | G97 / 90 / 6 - Patton | 2014-03-06 | 07:00:00 | 2014-03-06 | 16:30:00 | 9.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-found brokin drive removed yaw replace with new drive checked motor and drive for proper fit all checked ok ran turbine | 2014-03-06
401581140 | ZPM2 | gam-punch list item | WO Maintenance Small corrective | G97 / 90 / 6 - Patton | 2014-03-05 | 08:28:00 | 2014-03-05 | 16:10:00 | 7.7 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | Gamesa Wind US | 2000856: gam-punch list item | 2014-03-05
401581140 | ZPM2 | gam-punch list item | WO Maintenance Small corrective | G97 / 90 / 6 - Patton | 2014-03-05 | 08:28:00 | 2014-03-05 | 16:10:00 | 7.7 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-punch list item | 2014-03-05
401581174 | ZPM2 | gam-118 yaw motor error | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-03-04 | 08:28:00 | 2014-03-04 | 14:41:00 | 6.22 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US |  | 2014-03-04
401581682 | ZPM7 | gam-wend park preservation | WO Windfarm preservation | Patton | 2014-03-05 | 07:00:00 | 2014-03-05 | 07:30:00 | 0.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-meeting packing bags for tower work | 2014-03-05
401582848 | ZPM7 | gam- mon-park preservation | WO Windfarm preservation | Patton | 2014-03-10 | 07:00:00 | 2014-03-10 | 14:00:00 | 7 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US |  | 2014-03-10
401582862 | ZPM2 | gam-slip ring inspection | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-03-07 | 12:00:00 | 2014-03-07 | 16:00:00 | 4 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | Gamesa Wind US | 2000677: gam-cleaning slip ring, replace brushes, check for leakes on yaw drive, and cleaning belly | 2014-03-07
401583356 | ZPM2 | GAM-404 ALARM HIGH TEMP MAIN BEARING | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-03-10 | 12:15:00 | 2014-03-10 | 13:15:00 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US | 2001212: GAM-404 ALARM HIGH TEMP MAINBEARING / CHANGED TEMP CARD | 2014-03-10
401583356 | ZPM2 | GAM-404 ALARM HIGH TEMP MAIN BEARING | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-03-10 | 12:15:00 | 2014-03-10 | 13:15:00 | 1 | Op regular hours | 2001451 | GREGORY JOSEPH HOWARD | Complete | 500504 | Gamesa Wind US | 2001212: GAM-404 ALARM HIGH TEMP MAINBEARING / CHANGED TEMP CARD | 2014-03-10
401583356 | ZPM2 | GAM-404 ALARM HIGH TEMP MAIN BEARING | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-03-10 | 12:15:00 | 2014-03-10 | 13:00:00 | 0.75 | Op regular hours | 350800 | Michael Van Williams | Complete | 500504 | Gamesa Wind US | 2001212: GAM-404 ALARM HIGH TEMP MAINBEARING / CHANGED TEMP CARD | 2014-03-11
500481492 | ZPM4 | GAM-8041201 HYDRAULIC RE-ROUTING | WO Design modification | G97 / 78 / 1 - Patton | 2014-03-07 | 10:00:00 | 2014-03-07 | 11:00:00 | 1 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Ejecuted | 500504 | Gamesa Wind US | installed hydro dm | 2014-03-10
500481492 | ZPM4 | GAM-8041201 HYDRAULIC RE-ROUTING | WO Design modification | G97 / 78 / 1 - Patton | 2014-03-07 | 10:00:00 | 2014-03-07 | 11:00:00 | 1 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Ejecuted | 500504 | Gamesa Wind US | installed hydro dm | 2014-03-10
401581243 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-03-07 | 07:00:00 | 2014-03-07 | 15:30:00 | 8.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-meeting shop cleaning | 2014-03-07
401581174 | ZPM2 | gam-118 yaw motor error | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-03-04 | 08:28:00 | 2014-03-04 | 14:41:00 | 6.22 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | Gamesa Wind US |  | 2014-03-04
401581174 | ZPM2 | gam-118 yaw motor error | WO Maintenance Small corrective | G97 / 90 / 8 - Patton | 2014-03-04 | 08:28:00 | 2014-03-04 | 14:41:00 | 6.22 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US |  | 2014-03-04
401581683 | ZPM7 | gam-thur park preservation | WO Windfarm preservation | Patton | 2014-03-06 | 07:00:00 | 2014-03-06 | 07:30:00 | 0.5 | Op regular hours | 2000856 | JEREMY SCOTT JANSURE | Complete | 500504 | Gamesa Wind US | 2000856: gam-pack bags for tower work | 2014-03-06
401582848 | ZPM7 | gam- mon-park preservation | WO Windfarm preservation | Patton | 2014-03-10 | 07:00:00 | 2014-03-10 | 14:00:00 | 7 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US |  | 2014-03-10
401582862 | ZPM2 | gam-slip ring inspection | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-03-07 | 12:00:00 | 2014-03-07 | 16:00:00 | 4 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US | 2000677: gam-cleaning slip ring, replace brushes, check for leakes on yaw drive, and cleaning belly | 2014-03-07
401583356 | ZPM2 | GAM-404 ALARM HIGH TEMP MAIN BEARING | WO Maintenance Small corrective | G97 / 90 / 2 - Patton | 2014-03-10 | 12:15:00 | 2014-03-10 | 13:15:00 | 1 | Op regular hours | 2000677 | ALFONSO CACHARRON-SANCHEZ | Complete | 500504 | Gamesa Wind US | 2001212: GAM-404 ALARM HIGH TEMP MAINBEARING / CHANGED TEMP CARD | 2014-03-10
401581243 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-03-07 | 07:00:00 | 2014-03-07 | 15:30:00 | 8.5 | Op regular hours | 2001451 | GREGORY JOSEPH HOWARD | Complete | 500504 | Gamesa Wind US | 2000856: gam-meeting shop cleaning | 2014-03-07
401581243 | ZPM7 | gam-park preservation | WO Windfarm preservation | Patton | 2014-03-07 | 07:00:00 | 2014-03-07 | 12:00:00 | 5 | Op regular hours | 2001212 | KEVIN BARCLAY JOHNSON | Complete | 500504 | Gamesa Wind US | 2000856: gam-meeting shop cleaning | 2014-03-07

## Stop times
Order | Order Type | Plant | UserStatus | WO Description | FunctLocDescrip. | Descriptn | Windfarm | Start Date | Time | End date | Stop time | Total Stop | Windfarm | Functional Location | Line Hours | Employee | Production | Wind T. Av | External c | Descrip. o | System Status | Remarks
401576693 | ZPM2 | 1320 | COMP | gam-pitch ram cover dm | G97 / 90 / 11 - Patton | Patton | WF-US-0PA-1121 | 2014-03-03 | 09:00:00 | 2014-03-03 | 09:57:00 | 0 | WF-US-0PA-1121 | WF-US-0PA-1121-Y1-A-001 | 11051.00 | 02000856 | KWH |  | 0000 |  | CLSD PCNF NMAT SETC | 2000856: gam-installed new pitch ram shaft cover
401580634 | ZPM2 | 1320 | COMP | gam-107 yaw motor circuit breaker | G97 / 90 / 6 - Patton | Patton | WF-US-0PA-1121 | 2014-03-06 | 07:13:00 | 2014-03-06 | 16:10:00 | 0 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-006 |  | 02000856 | 9182884.00 KWH |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-found brokin drive removed yaw replace with new drive checked motor and drive for proper fit all checked ok ran turbine
401581140 | ZPM2 | 1320 | COMP | gam-punch list item | G97 / 90 / 6 - Patton | Patton | WF-US-0PA-1121 | 2014-03-05 | 08:28:00 | 2014-03-05 | 16:10:00 | 0 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-006 | 10492.00 | 02000856 | 9209032.00 KWH |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000856: gam-punch list item
401581174 | ZPM2 | 1320 | COMP | gam-118 yaw motor error | G97 / 90 / 8 - Patton | Patton | WF-US-0PA-1121 | 2014-03-04 | 08:28:00 | 2014-03-04 | 14:41:00 | 0 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-007 |  | 02000856 | KWH |  | 0000 |  | CLSD PCNF GMPS NMAT SETC
401582862 | ZPM2 | 1320 | COMP | gam-slip ring inspection | G97 / 90 / 2 - Patton | Patton | WF-US-0PA-1121 | 2014-03-10 | 12:25:00 | 2014-03-10 | 13:04:00 | 0 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-002 |  | 02000677 | KWH |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2000677: gam-cleaning slip ring, replace brushes, check for leakes on yaw drive, and cleaning belly
401583356 | ZPM2 | 1320 | COMP | GAM-404 ALARM HIGH TEMP MAIN BEARING | G97 / 90 / 2 - Patton | Patton | WF-US-0PA-1121 | 2014-03-10 | 12:24:00 | 2014-03-10 | 13:04:00 | 0.67 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-002 |  | 02001212 | KWH |  | 0000 |  | CLSD PCNF GMPS NMAT SETC | 2001212: GAM-404 ALARM HIGH TEMP MAINBEARING / CHANGED TEMP CARD
500481492 | ZPM4 | 1320 | EJEC | GAM-8041201 HYDRAULIC RE-ROUTING | G97 / 78 / 1 - Patton | Patton | WF-US-0PA-1121 | 2014-03-07 | 10:00:00 | 2014-03-07 | 11:00:00 | 0 | WF-US-0PA-1121 | WF-US-0PA-1121-Y2-A-001 |  | 00000000 | KWH |  | 0015 | DESIGN MODIFICATION | REL PCNF GMPS NMAT SETC | installed hydro dm

## Consumptions
Order | Material | Material Description | MvT | SLoc | Plant | Mat. Doc. | Mat. Doc. | Movement Type Text | Serial no. | Description | Functional Location | Type | Doc. Date | Quantity | EUn | Pstng Date
401580634 | GP118569 | BONFIGLIOLI YAW GEARBOX G9X C4H | 965 | 1121 | 1320 | 4911354194 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-06 | 1 | ST | 2014-03-07
401580634 | GP118569 | BONFIGLIOLI YAW GEARBOX G9X C4H | 967 | 1999 | 1312 | 4911354195 |  | WO mat. Return |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-06 | 1 | ST | 2014-03-07
401581140 | 50786 | ELECTRICALLY OPERATED VALVE 02-176361 | 965 | 1121 | 1320 | 4911358218 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 1 | ST | 2014-03-07
401581140 | 50786 | ELECTRICALLY OPERATED VALVE 02-176361 | 965 | 1121 | 1320 | 4911358220 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 1 | ST | 2014-03-07
401581140 | 50013 | AUXILIARY CONTACT CA5-01 1NC | 965 | 1121 | 1320 | 4911358222 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 1 | ST | 2014-03-07
401581140 | GP061950 | GENE.GEAR.SYNT.OIL(PAO) (ISO VG 320) | 965 | 1121 | 1320 | 4911358223 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 60 | L | 2014-03-07
401581140 | 114941 | INDUCTIV SENSOR M18 + SHEILD | 965 | 1121 | 1320 | 4911358225 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 1 | ST | 2014-03-07
401581140 | GP012886 | SHELL TELLUS S2 V 32 (old named T32) | 965 | 1121 | 1320 | 4911358272 |  | WO mat. consumption |  |  | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 10 | L | 2014-03-07
401581140 | P393068 | FLUORESCENT TUBE TLD54 18W | 965 | 1121 | 1320 | 4911358273 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-006 | ZPM2 | 2014-03-05 | 30 | ST | 2014-03-07
401581174 | P393068 | FLUORESCENT TUBE TLD54 18W | 965 | 1121 | 1320 | 4911358513 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-007 | ZPM2 | 2014-03-04 | 30 | ST | 2014-03-07
401581174 | GP012886 | SHELL TELLUS S2 V 32 (old named T32) | 965 | 1121 | 1320 | 4911358514 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-007 | ZPM2 | 2014-03-04 | 30 | L | 2014-03-07
401581174 | GP118569 | BONFIGLIOLI YAW GEARBOX G9X C4H | 965 | 1121 | 1320 | 4911358515 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-007 | ZPM2 | 2014-03-04 | 1 | ST | 2014-03-07
401581174 | GP118569 | BONFIGLIOLI YAW GEARBOX G9X C4H | 967 | 1999 | 1312 | 4911358516 |  | WO mat. Return |  |  | WF-US-0PA-1121-Y2-A-007 | ZPM2 | 2014-03-04 | 1 | ST | 2014-03-07
401582862 | GP052263 | BRUSH CANT05 | 965 | 1121 | 1320 | 4911366635 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-002 | ZPM2 | 2014-03-10 | 1 | ST | 2014-03-10
500481492 | GP219671 | FITTING LEE15LROMD-CF | 965 | 1121 | 1320 | 4911368662 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-03-07 | 1 | ST | 2014-03-10
500481492 | GP092845 | H-1SC-8-TLML15-TLML9015-NA-NA-C3-1100 | 965 | 1121 | 1320 | 4911368663 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-03-07 | 1 | ST | 2014-03-10
500481492 | GP107541 | FITTING2353-112-15-NA-NA-NA-L-C3-N | 965 | 1121 | 1320 | 4911368684 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-001 | ZPM4 | 2014-03-07 | 1 | ST | 2014-03-10
401583356 | GP004895 | IB IL TEMP 2 RTD-PAC | 965 | 1121 | 1320 | 4911368899 |  | WO mat. consumption |  | Patton | WF-US-0PA-1121-Y2-A-002 | ZPM2 | 2014-03-10 | 1 | ST | 2014-03-10
401583356 | GP004895 | IB IL TEMP 2 RTD-PAC | 967 | 1999 | 1312 | 4911368900 |  | WO mat. Return |  | DAMAGED at WINDF | WF-US-0PA-1121-Y2-A-002 | ZPM2 | 2014-03-10 | 1 | ST | 2014-03-10