## Work Orders
ID | Description | Status | Type | Outage Type | Priority | Date Opened | Start Date | Date Done | Down Time | Site | Planning | Unplanned Type | Task ID | Task Description | Asset ID | Asset Description | Vendor ID | Vendor Name | Actual Hours | Part ID | Part Description | Part Quantity | Comments | Original ID
PATTN-WKO-GAM-20150713-01 | GAM-2118 interbus error | Closed | Corrective Maintenance | Forced | 02-High | 7/13/2015 | 7/13/2015 | 7/13/2015 | 1.4333 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG10 | G97 / 90 / 10 - Patton | VEN-165 | Gamesa | 0.16667 |  |  |  | 2000541: local reset | 402050806
PATTN-WKO-GAM-20150713-02 | GAM-ALARM 2118 INTERBUS FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/13/2015 | 7/13/2015 | 7/13/2015 | 6 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG12 | G97 / 90 / 12 - Patton | VEN-165 | Gamesa | 6 | GAMSA-PRT-0112 | 2 CONTACTS RELAY BASE | 1 | 2000541: FOUND ONE OF THE RELAY BLOCKS BAD IN THE LTK CABINET | 402051559
PATTN-WKO-GAM-20150713-02 | GAM-ALARM 2118 INTERBUS FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/13/2015 | 7/13/2015 | 7/13/2015 | 6 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG12 | G97 / 90 / 12 - Patton | VEN-165 | Gamesa | 6 | GAMSA-PRT-0172 | VENTILATION DAMPER ACTUATOR | 2 | 2000541: FOUND ONE OF THE RELAY BLOCKS BAD IN THE LTK CABINET | 402051559
PATTN-WKO-GAM-20150714-01 | GAM- ALARM 2118 INTERBUS FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/14/2015 | 7/14/2015 | 7/14/2015 | 3.5 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG02 | G97 / 90 / 2 - Patton | VEN-165 | Gamesa | 2.5 |  |  |  | 2000541: LOCAL RESET | 402051588
PATTN-WKO-GAM-20150714-02 | GAM-ALARM 2118 INTERBUS FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/14/2015 | 7/14/2015 | 7/14/2015 | 3.9167 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG11 | G97 / 90 / 11 - Patton | VEN-165 | Gamesa | 3.9167 |  |  |  | 2000541: LOCAL RESET | 402051589
PATTN-WKO-GAM-20150714-03 | GAM-TROUBLE SHOOTING | Closed | Corrective Maintenance | Forced | 02-High | 7/14/2015 | 7/14/2015 | 7/14/2015 | 1.9167 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG10 | G97 / 90 / 10 - Patton | VEN-165 | Gamesa | 1.9167 |  |  |  | 2000541: TROUBLE SHOOTING THE 2118 ALARM | 402051909
PATTN-WKO-GAM-20150715-01 | GAM-intermittent 2118 alarms | Closed | Corrective Maintenance | Forced | 02-High | 7/15/2015 | 7/15/2015 | 7/15/2015 | 2.1833 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG02 | G97 / 90 / 2 - Patton | VEN-165 | Gamesa | 2.3333 |  |  |  | 2000541: TROUBLE SHOOTING | 402052979
PATTN-WKO-GAM-20150716-01 | GAM- ALARM 2118 INTER BUS FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/16/2015 | 7/16/2015 | 7/16/2015 | 1.25 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG01 | G97 / 78 / 1 - Patton | VEN-165 | Gamesa | 1.75 |  |  |  | 2000541: FOUND NOTHING WRONG LOCAL RESET | 402054006
PATTN-WKO-GAM-20150716-02 | GAM-PITCH RAM CHANGE | Closed | Corrective Maintenance | Forced | 02-High | 7/16/2015 | 7/16/2015 | 7/16/2015 | 13.5 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 13.7667 | GAMSA-PRT-0381 | Sens.Balluff 0206D BESM30ML1,10-30Vdc | 1 | 2000541: DID A PITCH RAM CHANGE ON BLADE C | 402055136
PATTN-WKO-GAM-20150717-01 | GAM-ALRM 907 HUB EMERGENCY TRIGGER MODE | Closed | Corrective Maintenance | Forced | 02-High | 7/17/2015 | 7/17/2015 | 7/17/2015 | 5.25 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 3.1667 |  |  |  | 2000541: FOUND A RELAY LOOSE | 402057051
PATTN-WKO-GAM-20150717-02 | GAM-CLEANED HUB FROM DOING PITCH RAM | Closed | Corrective Maintenance | Forced | 02-High | 7/17/2015 | 7/17/2015 | 7/17/2015 | 3.1667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 3.5 |  |  |  | 2000541: CLEANED HUB FROM DOING PITCH RAM | 402057078
PATTN-WKO-GAM-20150717-03 | GAM-ALARM 907 HUB EMERGENCYMODE TRIGGER | Closed | Corrective Maintenance | Forced | 02-High | 7/17/2015 | 7/17/2015 | 7/17/2015 | 7.6833 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 5 |  |  |  | 2000541: FOUND TWO RELAYS BAD IN THE HUB CABINET FOR THE BLADES | 402057089
PATTN-WKO-GAM-20150718-01 | GAM-ALRM 907 HUB EMERGENCY MODE TRIGGER | Closed | Corrective Maintenance | Forced | 02-High | 7/18/2015 | 7/18/2015 | 7/18/2015 | 7.0833 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 7.75 |  |  |  | 2000541: FOUND A LOOSE PLUG ON THE KR919 | 402057101
PATTN-WKO-GAM-20150718-02 | GAM- ALARM 2106 T-MEASUREMENT FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/18/2015 | 7/18/2015 | 7/18/2015 | 0.5 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG12 | G97 / 90 / 12 - Patton | VEN-165 | Gamesa | 0.5 |  |  |  | 2000541: LOCAL RESET | 402057116
PATTN-WKO-GAM-20150718-03 | GAM-ALARM 2118 INTERBUS FAILURE | Closed | Corrective Maintenance | Forced | 02-High | 7/18/2015 | 7/18/2015 | 7/18/2015 | 2.25 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG08 | G97 / 90 / 8 - Patton | VEN-165 | Gamesa | 2.25 |  |  |  | 2000541: FOUND TWO CARDS BAD | 402057488
PATTN-WKO-GAM-20150720-01 | GAM- TROUBLE SHOOTING THE SHIELDING | Closed | Corrective Maintenance | Forced | 02-High | 7/20/2015 | 7/20/2015 | 7/20/2015 | 0.75 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG08 | G97 / 90 / 8 - Patton | VEN-165 | Gamesa | 1.1667 | GAMSA-PRT-0082 | WIND VANE SIGNAL ADAPTER INTERFACE | 1 | 2000541: CHECKED THE SHIELDING | 402057484
PATTN-WKO-GAM-20150720-01 | GAM- TROUBLE SHOOTING THE SHIELDING | Closed | Corrective Maintenance | Forced | 02-High | 7/20/2015 | 7/20/2015 | 7/20/2015 | 0.75 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG08 | G97 / 90 / 8 - Patton | VEN-165 | Gamesa | 1.1667 | GAMSA-PRT-0116 | RELAY COIL 2 CONTACTS | 1 | 2000541: CHECKED THE SHIELDING | 402057484
PATTN-WKO-GAM-20150721-01 | GAM-trouble shoot shielding | Closed | Corrective Maintenance | Forced | 02-High | 7/21/2015 | 7/21/2015 | 7/21/2015 | 1.2333 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG10 | G97 / 90 / 10 - Patton | VEN-165 | Gamesa | 1.4167 | GAMSA-PRT-0468 | 1\4 TURN LOCK W.SPRING STRAIGHT BRACKET | 2 | 2000541: TROUBLE SHOOT SHIELDING | 402058629
PATTN-WKO-GAM-20150721-02 | GAM-trouble shoot shielding | Closed | Corrective Maintenance | Forced | 02-High | 7/21/2015 | 7/21/2015 | 7/21/2015 | 1.45 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG09 | G97 / 90 / 9 - Patton | VEN-165 | Gamesa | 1.6667 |  |  |  | 2000541: TROUBLE SHOOT SHIELDING | 402058637
PATTN-WKO-GAM-20150721-03 | GAM- trouble shoot shielding | Closed | Corrective Maintenance | Forced | 02-High | 7/21/2015 | 7/21/2015 | 7/21/2015 | 0.71667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG02 | G97 / 90 / 2 - Patton | VEN-165 | Gamesa | 0.83333 |  |  |  | 2000541: TROUBLE SHOOT SHIELDING | 402058660
PATTN-WKO-GAM-20150726-01 | GAM-2106 TEMP MEASUREMENT FAIL | Closed | Corrective Maintenance | Forced | 02-High | 7/26/2015 | 7/26/2015 | 7/26/2015 | 0.88333 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG04 | G97 / 90 / 4 - Patton | VEN-165 | Gamesa | 1.0333 |  |  |  | Local reset | 402063675
PATTN-WKO-GAM-20150727-01 | GAM-CHANGE PITCH RAM HALFMOONS | Closed | Corrective Maintenance | Forced | 02-High | 7/27/2015 | 7/27/2015 | 7/27/2015 | 4.3667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG09 | G97 / 90 / 9 - Patton | VEN-165 | Gamesa | 4.4167 | GAMSA-PRT-0430 | 100-115-40 FRICTION BEARING | 6 | changed pitch ram half moons on all blades | 402063678
PATTN-WKO-GAM-20150727-01 | GAM-CHANGE PITCH RAM HALFMOONS | Closed | Corrective Maintenance | Forced | 02-High | 7/27/2015 | 7/27/2015 | 7/27/2015 | 4.3667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG09 | G97 / 90 / 9 - Patton | VEN-165 | Gamesa | 4.4167 | GAMSA-PRT-0431 | G87GF CYLINDER HOLDER (MACHINING) | 6 | changed pitch ram half moons on all blades | 402063678
PATTN-WKO-GAM-20150727-02 | GAM-205 low HYD oil | Closed | Corrective Maintenance | Forced | 02-High | 7/27/2015 | 7/27/2015 | 7/27/2015 | 0.98333 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 0.91667 | GAMSA-PRT-0422 | F. A. GENERIC HYDRAULIC GROUP FLUIDS | 20 | added hyd oil | 402064108
PATTN-WKO-GAM-20150728-01 | GAM-205 LOW HG OIL | Closed | Corrective Maintenance | Forced | 02-High | 7/28/2015 | 7/28/2015 | 7/28/2015 | 8.0833 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 8.0833 | GAMSA-PRT-0417 | ACCU. 24.5L PREFILL PRESS. 73 BAR. (CE-A | 1 | GAM-205 LOW HG OIL | 402065786
PATTN-WKO-GAM-20150728-02 | GAM-212 LEAK IN HUB | Closed | Corrective Maintenance | Forced | 02-High | 7/28/2015 | 7/28/2015 | 7/28/2015 | 3.6667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG06 | G97 / 90 / 6 - Patton | VEN-165 | Gamesa | 3.6667 |  |  |  | HUB LIGHT CAME LOOSE | 402065835
PATTN-WKO-GAM-20150803-01 | GAM-208 HG FEEDBACK ERROR | Closed | Corrective Maintenance | Forced | 02-High | 8/3/2015 | 8/3/2015 | 8/3/2015 | 1.5667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG13 | G97 / 78 / 13 - Patton | VEN-165 | Gamesa | 1.7667 | GAMSA-PRT-0415 | AUXILIARY CONTACT CA5 10 1NO | 1 | found bad Aux contactor for hyd pump motor. changed return to service | 402071490
PATTN-WKO-GAM-20150804-01 |  | Closed | Corrective Maintenance | Forced | 02-High | 8/4/2015 | 8/4/2015 | 8/4/2015 | 3.3667 | Patton | Unplanned |  | PMI-004 | Unplanned Maintenance | PATTN-WTG16 | G97 / 90 / 16 - Patton | VEN-165 | Gamesa | 3.5 |  |  |  |  | 402071983

## Parts
ID | Description | Qty | Vendor | Stock Area | Original ID
GAMSA-PRT-0467 | GENERIC PITCH CYLINDER 140-90-760 | 0 | Gamesa | Gamesa | GP062758
GAMSA-PRT-0468 | 1\4 TURN LOCK W.SPRING STRAIGHT BRACKET | 2 | Gamesa | Gamesa | GP018630